## Multi-Agent-Multi-Tool
Ques. No. | Question | GPT-4o |  |  | GPT-3.5 |  |  | Llama-3.3 |  |  | Claude-3.5 |  |  | Require Tool | Require Agent | Operation Type | Requires | GPT-4o | GPT-3.5 | Llama-3.3 | Claude-3.5 | GPT-4o | GPT-3.5 | Llama-3.3 | Claude-3.5
1 | Set image size as $100 \times 100 \pu{nm}$ in the AFM software. | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 3 | 3 | 3 | 1 | 1 | 1 | 1
2 | Set the P gain to 100 in the AFM software. | YES | YES | YES | N/CODE | YES | YES | YES | YES | YES | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 2 | 3 | 3 | 1 | 1 | 1 | 1
3 | Set the I gain to 1000 in the AFM software. | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 3 | 3 | 3 | 1 | 1 | 1 | 1
4 | Set the D gain to 10 in the AFM software. | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 3 | 3 | 3 | 1 | 1 | 1 | 1
5 | Set the $\frac{time}{line}$ to \pu{1 s} in the AFM software. | YES | YES | YES | N/CODE | N/CODE | YES | YES | N/EXTRA | YES | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 1 | 2 | 3 | 1 | 1 | 1 | 1
6 | Set setpoint to \pu{1 V} in the AFM software. | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 3 | 3 | 3 | 1 | 1 | 1 | 1
7 | Set image width to \pu{200 nm} in the AFM software. | YES | YES | YES | YES | N/CODE | YES | YES | YES | YES | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 2 | 3 | 3 | 1 | 1 | 1 | 1
8 | Set image height to \pu{100 nm} in the AFM software. | YES | YES | YES | YES | YES | YES | N/EXTRA | YES | N/TOOL | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 3 | 1 | 3 | 1 | 1 | 1 | 1
9 | Set image rotation to \pu{20 degree} in the AFM software. | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 3 | 3 | 3 | 1 | 1 | 1 | 1
10 | Set overscan to $5 %$ the AFM software. | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 3 | 3 | 3 | 1 | 1 | 1 | 1
11 | Bring the AFM tip to the sample surface. | YES | YES | YES | YES | YES | N/CODE | YES | YES | YES | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 2 | 3 | 3 | 1 | 1 | 1 | 1
12 | Retract the AFM tip from the sample surface. | YES | YES | YES | N/CODE | YES | N/CODE | YES | YES | YES | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 1 | 3 | 3 | 1 | 1 | 1 | 1
13 | Initiate the scanning process in the AFM software. | YES | N/EXTRA | N/EXTRA | YES | YES | YES | YES | YES | YES | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 1 | 3 | 3 | 3 | 1 | 1 | 1 | 1
14 | Terminate the scanning process for the AFM. | YES | YES | YES | N/CODE | N/CODE | N/CODE | YES | YES | YES | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 0 | 3 | 3 | 1 | 0 | 1 | 1
15 | Change the cantilever tip to Multi75AL-G in the AFM software. | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 3 | 3 | 3 | 1 | 1 | 1 | 1
16 | Change the cantilever tip to Dyn190Al in the AFM software. | YES | YES | YES | YES | YES | N/CODE | N/EXTRA | N/EXTRA | N/EXTRA | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 2 | 0 | 3 | 1 | 1 | 0 | 1
17 | Change the AFM operation mode to contact mode in the AFM software. | YES | YES | YES | YES | N/KNOW | N/CODE | YES | YES | YES | N/KNOW | N/KNOW | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 1 | 3 | 1 | 1 | 1 | 1 | 1
18 | Change the AFM operation mode to tapping mode in the AFM software. | YES | YES | YES | N/CODE | N/KNOW | YES | YES | YES | N/EXTRA | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 1 | 2 | 3 | 1 | 1 | 1 | 1
19 | Change the AFM operation mode to phase contrast mode in the AFM software. | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 3 | 3 | 3 | 1 | 1 | 1 | 1
20 | Change the AFM operation mode to lateral force mode in the AFM software. | YES | YES | YES | YES | N/CODE | N/CODE | YES | YES | YES | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 1 | 3 | 3 | 1 | 1 | 1 | 1
21 | Change the AFM operation mode to static force mode in the AFM software. | YES | YES | YES | YES | N/CODE | YES | YES | N/CODE | YES | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 2 | 2 | 3 | 1 | 1 | 1 | 1
22 | Open the file 'Sample.nid', extract the data corresponding to the Z-axis forward image, calculate the number of square grids present in the image, and save the Z-axis forward image as 'question_22.png' | N/AGENT | N/CODE | N/CODE | N/KNOW | N/KNOW | N/AGENT | N/CODE | N/CODE | N/CODE | N/AGENT | N/AGENT | N/AGENT | Single tool | Single agent | Advanced | Calculation, Analysis | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | Open the file 'Sample.nid', extract the data corresponding to the Z-axis backward image, calculate the number of square grids present in the image, and save the Z-axis backward image as 'question_23.png' | N/CODE | N/TOOL | Y/PARTIAL | N/KNOW | N/AGENT | N/AGENT | N/CODE | N/CODE | N/CODE | N/AGENT | N/AGENT | N/AGENT | Single tool | Single agent | Advanced | Calculation, Analysis | 0.5 | 0 | 0 | 0 | 0.5 | 0 | 0 | 0
24 | Ensure that the P gain is set to 6000 in the AFM software and then capture an image. | Y/PARTIAL | Y/PARTIAL | Y/PARTIAL | N/CODE | N/CODE | Y/PARTIAL | N/EXTRA | N/EXTRA | N/EXTRA | Y/PARTIAL | YES | Y/PARTIAL | Multiple tools | Single agent | Advanced | Documentation | 1.5 | 0.5 | 0 | 2 | 0.5 | 0.5 | 0 | 1
25 | Set P gain to 100, I gain to 6000, and D gain to 10 in the AFM software, and then capture an image. | YES | YES | YES | N/CODE | N/CODE | N/EXTRA | N/EXTRA | N/EXTRA | N/EXTRA | Y/PARTIAL | Y/PARTIAL | Y/PARTIAL | Multiple tools | Single agent | Advanced | Documentation | 3 | 0 | 0 | 1.5 | 1 | 0 | 0 | 0.5
26 | Change the cantilever tip to Multi75AL-G in the AFM software, and then capture an image. | Y/PARTIAL | N/EXTRA | YES | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | N/EXTRA | N/EXTRA | N/EXTRA | Multiple tools | Single agent | Advanced | Documentation | 1.5 | 0 | 0 | 0 | 1 | 0 | 0 | 0
27 | Change the AFM operation mode to lateral force mode in the AFM software, and then capture an image. | N/EXTRA | N/EXTRA | N/EXTRA | N/CODE | N/EXTRA | N/EXTRA | N/EXTRA | N/EXTRA | N/EXTRA | Y/PARTIAL | N/EXTRA | N/EXTRA | Multiple tools | Single agent | Advanced | Documentation | 0 | 0 | 0 | 0.5 | 0 | 0 | 0 | 0.5
28 | Open the file 'Sample.nid', extract the data corresponding to the Z-axis forward image, and save a single grid image as 'question_28.png' | N/CODE | N/CODE | N/CODE | N/EXTRA | N/KNOW | N/AGENT | N/CODE | N/CODE | N/CODE | N/AGENT | N/AGENT | N/AGENT | Multiple tools | Single agent | Advanced | Analysis | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | Capture an image by setting a $\frac{time}{line}$ that ensures the scanning is completed within 30 seconds. | Y/PARTIAL | N/CODE | Y/PARTIAL | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | N/TOOL | N/TOOL | N/TOOL | Multiple tools | Single agent | Advanced | Documentation, Calculation | 1 | 0 | 0 | 0 | 0.5 | 0 | 0 | 0
30 | Capture an image by setting a $\frac{points}{line}$ and $\frac{time}{line}$ that ensures the scanning is completed within 30 seconds. | Y/PARTIAL | N/CODE | Y/PARTIAL | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | N/TOOL | N/TOOL | N/TOOL | Multiple tools | Single agent | Advanced | Documentation, Calculation | 1 | 0 | 0 | 0 | 0.5 | 0 | 0 | 0
31 | Set image rotation to \pu{20 degrees} in the AFM software, and then capture an image. | Y/PARTIAL | Y/PARTIAL | YES | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | YES | Y/PARTIAL | Y/PARTIAL | Y/PARTIAL | Multiple tools | Single agent | Advanced | Documentation | 2 | 0 | 1 | 1.5 | 1 | 0 | 1 | 0.5
32 | Set the file name to 'Glass_NAP_2024' in the AFM software. | YES | YES | YES | YES | YES | YES | N/TOOL | YES | YES | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 3 | 2 | 3 | 1 | 1 | 1 | 1
33 | Open the file 'Sample.nid,' extract the Z-axis forward image data, and plot it. Save the resulting plot as 'question_33.png.' | YES | YES | YES | N/AGENT | N/AGENT | N/CODE | N/CODE | N/CODE | N/CODE | YES | N/AGENT | N/AGENT | Single tool | Single agent | Basic | Analysis | 3 | 0 | 0 | 1 | 1 | 0 | 0 | 1
34 | Open the file 'Sample.nid,' extract the Z-axis backward image data, and plot it. Save the resulting plot as 'question_34.png.' | N/CODE | YES | YES | N/AGENT | N/AGENT | N/AGENT | N/CODE | N/CODE | N/CODE | N/AGENT | N/AGENT | N/AGENT | Single tool | Single agent | Basic | Analysis | 2 | 0 | 0 | 0 | 1 | 0 | 0 | 0
35 | Optimize the values of the P, I, and D gains using a genetic algorithm. Do not correct the baseline. | YES | YES | YES | N/AGENT | N/AGENT | N/AGENT | N/TOOL | N/TOOL | N/TOOL | N/AGENT | N/AGENT | N/AGENT | Single tool | Single agent | Basic | None | 3 | 0 | 0 | 0 | 1 | 0 | 0 | 0
36 | Optimize the values of the P, I, and D gains using a genetic algorithm. Correct the baseline. | YES | YES | YES | N/AGENT | N/AGENT | N/AGENT | N/TOOL | N/TOOL | N/TOOL | N/AGENT | N/AGENT | N/AGENT | Single tool | Single agent | Basic | None | 3 | 0 | 0 | 0 | 1 | 0 | 0 | 0
37 | Change the cantilever tip to Tap190Al-G in the AFM software. | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 3 | 3 | 3 | 1 | 1 | 1 | 1
38 | Change the cantilever tip to ContAL-G in the AFM software. | YES | YES | YES | YES | YES | YES | N/CODE | YES | YES | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 3 | 2 | 3 | 1 | 1 | 1 | 1
39 | Withdraw the AFM tip from the sample surface. | YES | YES | YES | YES | YES | YES | N/TOOL | YES | YES | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 3 | 2 | 3 | 1 | 1 | 1 | 1
40 | Open the file 'Sample.nid,' extract the forward friction force image data, and plot it. Save the resulting plot as 'question_40.png.' | N/CODE | YES | YES | N/AGENT | N/AGENT | N/EXTRA | N/CODE | N/CODE | N/CODE | N/AGENT | N/AGENT | N/AGENT | Single tool | Single agent | Basic | Analysis | 2 | 0 | 0 | 0 | 1 | 0 | 0 | 0
41 | Capture an image by scanning from the up direction. | N/EXTRA | N/EXTRA | N/EXTRA | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | N/EXTRA | Multiple tools | Single agent | Advanced | Documentation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
42 | Capture an image by scanning from the down direction. | N/EXTRA | YES | YES | N/CODE | Y/PARTIAL | Y/PARTIAL | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | Multiple tools | Single agent | Basic | Documentation | 2 | 1 | 0 | 0 | 1 | 0.5 | 0 | 0
43 | Set P gain to 150, I gain to 5000, and D gain to 5 in the AFM software. | YES | YES | YES | YES | YES | YES | N/EXTRA | YES | N/EXTRA | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 3 | 1 | 3 | 1 | 1 | 1 | 1
44 | Set image height to \pu{50 nm} and P gain to 175 in the AFM software. | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 3 | 3 | 3 | 1 | 1 | 1 | 1
45 | Set the image size to $150 \times 100 \pu{nm}$, P gain to 75, I gain to 4500, D gain to 0, and $\frac{time}{line}$ to \pu{1 s} in the AFM software. | YES | YES | YES | N/CODE | YES | N/CODE | Y/PARTIAL | Y/PARTIAL | Y/PARTIAL | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 1 | 1.5 | 3 | 1 | 1 | 0.5 | 1
46 | Change the AFM operation mode to dynamic mode in the AFM software. | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 3 | 3 | 3 | 1 | 1 | 1 | 1
47 | Open the file named 'Glass_NAP.nid' from the current directory, extract the friction-forward image data, plot it, and save the resulting plot as 'Glass_NAP_ff_47_GPT-4o.png'. | YES | N/CODE | N/CODE | N/AGENT | N/AGENT | N/AGENT | YES | YES | YES | N/EXTRA | N/EXTRA | N/EXTRA | Single tool | Single agent | Basic | Analysis | 1 | 0 | 3 | 0 | 1 | 0 | 1 | 0
48 | Open the file named 'Glass_NAP.nid' from the current directory, extract the z-axis forward image data, plot it, and save the resulting plot as 'Glass_NAP_zf_48_GPT-4o.png'. | YES | N/CODE | YES | N/AGENT | N/AGENT | N/EXTRA | N/CODE | YES | N/CODE | N/AGENT | N/AGENT | N/AGENT | Single tool | Single agent | Basic | Analysis | 2 | 0 | 1 | 0 | 1 | 0 | 1 | 0
49 | Open the file named 'Glass_NAP.nid' from the current directory, extract the z-axis backward image data, plot it, and save the resulting plot as 'Glass_NAP_zb_49_GPT-4o.png'. | N/CODE | N/CODE | N/CODE | N/EXTRA | N/EXTRA | N/AGENT | N/CODE | N/CODE | YES | N/EXTRA | N/AGENT | N/AGENT | Single tool | Single agent | Basic | Analysis | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0
50 | Open the file named 'Glass_NAP.nid' from the current directory, extract the deflection forward image data, plot it, and save the resulting plot as 'Glass_NAP_df_50_GPT-4o.png'. | N/CODE | N/CODE | YES | N/AGENT | N/AGENT | N/EXTRA | YES | YES | YES | N/EXTRA | N/AGENT | N/AGENT | Single tool | Single agent | Basic | Analysis | 1 | 0 | 3 | 0 | 1 | 0 | 1 | 0
51 | Open the file named 'Glass_NAP.nid' from the current folder, then plot the friction forward image and save it as 'Glass_NAP_51_GPT-4o'. Calculate the corresponding average friction. | Y/PARTIAL | Y/PARTIAL | Y/PARTIAL | N/EXTRA | N/AGENT | N/AGENT | N/CODE | N/CODE | N/CODE | N/AGENT | N/AGENT | N/AGENT | Single tool | Single agent | Advanced | Calculation, Analysis | 1.5 | 0 | 0 | 0 | 0.5 | 0 | 0 | 0
52 | Open the file named 'Glass_NAP.nid' from the current folder and calculate the corresponding average friction. | YES | YES | YES | N/EXTRA | YES | YES | N/TOOL | N/TOOL | N/TOOL | YES | N/AGENT | YES | Single tool | Single agent | Advanced | Calculation, Analysis | 3 | 2 | 0 | 2 | 1 | 1 | 0 | 1
53 | Open the file named "Glass_NAP.nid" from the current folder, and then plot the z-axis forward image from that file, save it as 'question_53.png', and calculate the corresponding average friction. | YES | Y/PARTIAL | N/CODE | N/EXTRA | N/AGENT | N/AGENT | N/TOOL | N/TOOL | N/TOOL | N/AGENT | N/AGENT | N/AGENT | Single tool | Single agent | Advanced | Calculation, Analysis | 1.5 | 0 | 0 | 0 | 1 | 0 | 0 | 0
54 | Open the file named 'Glass_NAP.nid' from the current folder, and then plot the z-axis backward image from that file, save it as 'question_54.png', and calculate the corresponding average friction. | YES | Y/PARTIAL | YES | N/EXTRA | N/AGENT | N/AGENT | N/CODE | N/TOOL | N/TOOL | N/AGENT | N/AGENT | N/AGENT | Single tool | Single agent | Advanced | Calculation, Analysis | 2.5 | 0 | 0 | 0 | 1 | 0 | 0 | 0
55 | Open the file named 'Glass_NAP.nid' from the current folder, and then plot the z-axis forward image from that file, save it as 'question_55.png', and calculate the corresponding root mean squared roughness. | N/CODE | Y/PARTIAL | YES | N/AGENT | N/EXTRA | N/AGENT | Y/PARTIAL | Y/PARTIAL | Y/PARTIAL | N/AGENT | N/EXTRA | N/EXTRA | Single tool | Single agent | Advanced | Calculation, Analysis | 1.5 | 0 | 1.5 | 0 | 1 | 0 | 0.5 | 0
56 | Capture an AFM image of size $\pu {100 nm} \times \pu {100 nm}$ and calculate the surface friction. | Y/PARTIAL | Y/PARTIAL | N/EXTRA | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | N/EXTRA | N/EXTRA | N/EXTRA | Multiple tools | Multiple agents | Advanced | Documentation, Calculation, Analysis | 1 | 0 | 0 | 0 | 0.5 | 0 | 0 | 0
57 | Capture an AFM image of size $\pu {100 nm} \times \pu {100 nm}$ and calculate the average surface roughness. | N/CODE | Y/PARTIAL | Y/PARTIAL | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | N/EXTRA | N/EXTRA | N/EXTRA | Multiple tools | Multiple agents | Advanced | Documentation, Calculation, Analysis | 1 | 0 | 0 | 0 | 0.5 | 0 | 0 | 0
58 | Capture an AFM image of size $\pu {100 nm} \times \pu {100 nm}$ and calculate the root mean squared surface roughness. | N/CODE | YES | Y/PARTIAL | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | N/EXTRA | N/EXTRA | N/EXTRA | Multiple tools | Multiple agents | Advanced | Documentation, Calculation, Analysis | 1.5 | 0 | 0 | 0 | 1 | 0 | 0 | 0
59 | Capture an AFM image of size $\pu {100 nm} \times \pu {100 nm}$ with the filename '59_GPT-4o'. Open the latest file from the current folder and calculate the average and root mean squared value of surface roughness. | YES | N/EXTRA | Y/PARTIAL | N/CODE | N/CODE | N/CODE | N/CODE | N/EXTRA | N/CODE | N/EXTRA | N/EXTRA | N/EXTRA | Multiple tools | Multiple agents | Advanced | Documentation, Calculation, Analysis | 1.5 | 0 | 0 | 0 | 1 | 0 | 0 | 0
60 | Capture an AFM image of size $\\pu {100 nm} \times \\pu {100 nm}$ with the filename '60_GPT-4o'. Open the latest file from the current folder and calculate the average friction and surface roughness | N/EXTRA | Y/PARTIAL | N/EXTRA | N/CODE | N/CODE | N/CODE | N/EXTRA | N/AGENT | N/AGENT | N/EXTRA | N/EXTRA | N/EXTRA | Multiple tools | Multiple agents | Advanced | Documentation, Calculation, Analysis | 0.5 | 0 | 0 | 0 | 0.5 | 0 | 0 | 0
61 | Capture two AFM images of size $\pu{100nm} \times \pu{100nm}$ in different locations. | N/CODE | N/EXTRA | YES | N/EXTRA | N/EXTRA | N/CODE | N/CODE | N/CODE | N/CODE | N/EXTRA | N/EXTRA | N/EXTRA | Multiple tools | Single agent | Advanced | Documentation, Analysis | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0
62 | Capture two AFM images of size $\pu{100nm} \times \pu{100nm} $ and $\pu{500nm} \times \pu{500nm}$ in the same location and calculate their average friction and root mean squared surface roughness. | N/CODE | N/EXTRA | Y/PARTIAL | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | Y/PARTIAL | Y/PARTIAL | N/EXTRA | Multiple tools | Multiple agents | Advanced | Documentation, Calculation, Analysis | 0.5 | 0 | 0 | 1 | 0.5 | 0 | 0 | 0.5
63 | Open the file 'Sample.nid', and calculate the number of square grids present. | N/CODE | N/CODE | N/CODE | N/AGENT | N/AGENT | N/AGENT | N/CODE | N/CODE | N/CODE | N/AGENT | N/EXTRA | N/AGENT | Single tool | Single agent | Advanced | Calculation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
64 | Open the file 'Sample.nid', and calculate the surface roughness. | YES | YES | YES | N/EXTRA | N/AGENT | N/AGENT | N/TOOL | N/TOOL | N/TOOL | N/AGENT | N/AGENT | N/AGENT | Single tool | Single agent | Basic | Calculation | 3 | 0 | 0 | 0 | 1 | 0 | 0 | 0
65 | Open the file 'Sample.nid', and calculate the friction. | YES | YES | YES | N/AGENT | N/AGENT | N/AGENT | N/TOOL | N/TOOL | N/TOOL | N/AGENT | YES | N/AGENT | Single tool | Single agent | Basic | Calculation | 3 | 0 | 0 | 1 | 1 | 0 | 0 | 1
66 | Open the file 'Sample.nid', and calculate the area of the image. | N/KNOW | N/KNOW | N/KNOW | N/AGENT | N/AGENT | N/AGENT | N/CODE | N/CODE | N/CODE | N/AGENT | N/AGENT | N/AGENT | Single tool | Single agent | Basic | Calculation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
67 | Open the file 'Sample.nid' and calculate the number of distinct objects present. | YES | N/CODE | N/KNOW | N/AGENT | N/AGENT | N/AGENT | N/CODE | N/CODE | N/CODE | N/AGENT | N/AGENT | N/AGENT | Single tool | Single agent | Advanced | Calculation | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0
68 | Open the file 'Sample.nid,' extract the forward friction force image data, and calculate the area of the image. | N/KNOW | N/CODE | N/CODE | N/AGENT | N/AGENT | N/AGENT | N/TOOL | N/TOOL | N/TOOL | N/AGENT | N/AGENT | N/AGENT | Single tool | Single agent | Advanced | Calculation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
69 | Open the file 'Sample.nid,' extract the z-axis forward image data, and calculate the area of the image in pixels. | YES | N/CODE | N/CODE | N/AGENT | N/AGENT | N/AGENT | N/EXTRA | N/CODE | N/CODE | N/AGENT | N/EXTRA | N/AGENT | Single tool | Single agent | Advanced | Calculation | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0
70 | Open the file 'Glass_NAP.nid' from the current folder and calculate the corresponding average friction. | YES | YES | YES | N/AGENT | N/EXTRA | N/AGENT | N/TOOL | N/TOOL | N/TOOL | YES | N/AGENT | YES | Single tool | Single agent | Basic | Calculation | 3 | 0 | 0 | 2 | 1 | 0 | 0 | 1
71 | Open the file 'Glass_NAP.nid' from the current folder and calculate the corresponding surface roughness. | YES | YES | YES | N/AGENT | N/AGENT | N/AGENT | N/TOOL | YES | N/TOOL | N/AGENT | N/AGENT | N/AGENT | Multiple tools | Multiple agents | Basic | Calculation | 3 | 0 | 1 | 0 | 1 | 0 | 1 | 0
72 | Open the file 'Glass_NAP.nid' from the current folder and calculate the corresponding surface roughness and average friction. | YES | YES | YES | YES | N/AGENT | N/AGENT | N/TOOL | YES | N/TOOL | N/AGENT | N/AGENT | N/AGENT | Multiple tools | Multiple agents | Advanced | Calculation | 3 | 1 | 1 | 0 | 1 | 1 | 1 | 0
73 | Acquire an AFM image with dimensions $\pu{1 µm} \times \pu{1 µm}$ at a scan angle of $ 5 degrees $, using the following parameters: P gain = 100, I gain = 5000, D gain = 0, and setpoint = 0.1 V. Save the image with the filename 'Test'. Then, open the latest file in the folder, plot the Z-axis forward image, and save the plot as 'Test.png'. | Y/PARTIAL | Y/PARTIAL | Y/PARTIAL | N/CODE | N/CODE | N/CODE | N/EXTRA | N/AGENT | N/EXTRA | N/CODE | N/CODE | YES | Multiple tools | Multiple agents | Advanced | Documentation, Analysis | 1.5 | 0 | 0 | 1 | 0.5 | 0 | 0 | 1
74 | Acquire an AFM image with dimensions $\pu{500 nm} \times \pu{500 nm}$ at a scan angle of $ 5 degrees $, using the following parameters: P gain = 100, I gain = 5000, D gain = 0, and setpoint = 0.1 V. Save the image with the filename 'Test'. Then, open the latest file in the folder, plot the Z-axis backward image, and save the plot as 'Test_GPT-35.png'. | Y/PARTIAL | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | N/EXTRA | N/AGENT | N/AGENT | N/CODE | N/CODE | N/CODE | Multiple tools | Multiple agents | Advanced | Documentation, Analysis | 0.5 | 0 | 0 | 0 | 0.5 | 0 | 0 | 0
75 | Acquire an AFM image with dimensions $\pu{500 nm} \times \pu{500 nm}$ at a scan angle of $ 5 degrees $, using the following parameters: P gain = 100, I gain = 5000, D gain = 0, and setpoint = 0.1 V. Save the image with the filename 'Test.' Then, open the latest file in the current folder; from that file, extract the Z-axis backward image data, plot it, and save the plot as '75_Test_GPT-4o.png'. | Y/PARTIAL | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | N/AGENT | N/AGENT | N/AGENT | N/CODE | N/CODE | N/CODE | Multiple tools | Multiple agents | Advanced | Documentation, Analysis | 0.5 | 0 | 0 | 0 | 0.5 | 0 | 0 | 0
76 | Capture an AFM image with dimensions $\pu{500 nm} \times \pu{500 nm}$ at a scan angle of $ 5 degrees $, using the following parameters: P gain = 100, I gain = 5000, D gain = 0, and setpoint = 0.1 V. Then, open the latest file in the current folder; from that file, extract the Z-axis backward image data and calculate the area of the image. | Y/PARTIAL | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | N/EXTRA | N/EXTRA | N/EXTRA | Y/PARTIAL | Y/PARTIAL | N/CODE | Multiple tools | Multiple agents | Advanced | Documentation, Calculation | 0.5 | 0 | 0 | 1 | 0.5 | 0 | 0 | 0.5
77 | Capture an AFM image with dimensions $\pu{500 nm} \times \pu{500 nm}$ using the following parameters: P gain = 100, I gain = 5000, D gain = 0. Then open the latest file in the current folder and from that file, extract the Z-axis forward image data and calculate the area of the image. | N/CODE | YES | YES | N/CODE | N/CODE | N/CODE | N/AGENT | N/AGENT | N/EXTRA | N/EXTRA | N/EXTRA | N/EXTRA | Multiple tools | Multiple agents | Advanced | Documentation, Calculation | 2 | 0 | 0 | 0 | 1 | 0 | 0 | 0
78 | Capture an AFM image with dimensions $\pu{500 nm} \times \pu{500 nm}$ using the following parameters: P gain = 100, I gain = 5000, D gain = 0. Then, open the latest file in the current folder, extract the Z-axis forward image data from that file, and calculate the maximum height of any point in the image. | Y/PARTIAL | N/CODE | Y/PARTIAL | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | Multiple tools | Multiple agents | Advanced | Documentation, Calculation | 1 | 0 | 0 | 0 | 0.5 | 0 | 0 | 0
79 | Capture an AFM image of size $\\pu{10000 nm} \times \\pu{10000 nm}$ with the file name '91_GPT-4o'. Open the latest file from the current folder and plot \\pu{1000 nm} length line profile across a distinct step-edge feature and save it as '91_GPT-4o.png'. | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | N/AGENT | N/AGENT | N/AGENT | N/TOOL | N/TOOL | N/TOOL | Multiple tools | Multiple agents | Advanced | Documentation, Analysis | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
80 | Optimize the values of the P, I, and D gains using a genetic algorithm and correct the baseline. Then, adjust the image size to $\\pu{100 nm} \times \\pu{100 nm}$ and update the P, I, and D gains to the optimized values in the AFM software. | Y/PARTIAL | N/AGENT | N/AGENT | N/AGENT | N/AGENT | N/AGENT | Y/PARTIAL | Y/PARTIAL | Y/PARTIAL | Y/PARTIAL | Y/PARTIAL | Y/PARTIAL | Multiple tools | Multiple agents | Advanced | Documentation, None | 0.5 | 0 | 1.5 | 1.5 | 0.5 | 0 | 0.5 | 0.5
81 | Optimize the values of the P, I, and D gains using a genetic algorithm, correct the baseline, and then set the final parameters in the AFM software. | N/AGENT | Y/PARTIAL | Y/PARTIAL | N/AGENT | N/AGENT | N/AGENT | Y/PARTIAL | Y/PARTIAL | Y/PARTIAL | N/AGENT | N/AGENT | N/AGENT | Multiple tools | Multiple agents | Advanced | Documentation, None | 1 | 0 | 1.5 | 0 | 0.5 | 0 | 0.5 | 0
82 | Open the file 'Sample.nid', extract the data corresponding to the Z-axis backward image, plot a line profile across the image, and save as 'question_102.png' | YES | YES | YES | N/AGENT | N/AGENT | N/CODE | N/CODE | N/CODE | N/CODE | N/AGENT | N/AGENT | N/AGENT | Single tool | Single agent | Advanced | Analysis | 3 | 0 | 0 | 0 | 1 | 0 | 0 | 0
83 | Open the file 'Sample.nid', extract the data corresponding to the Z-axis forward image, plot a line profile across the image, and save as 'question_103.png' | N/CODE | N/CODE | N/CODE | N/AGENT | N/EXTRA | N/CODE | YES | N/CODE | N/CODE | N/AGENT | N/AGENT | N/AGENT | Single tool | Single agent | Advanced | Analysis | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0
84 | Open the file 'Sample.nid', extract the data corresponding to the backward friction force image, plot a line profile across the image, and save as 'question_104.png' | N/CODE | N/CODE | N/CODE | N/AGENT | N/AGENT | N/AGENT | N/CODE | N/CODE | N/CODE | N/AGENT | N/EXTRA | N/AGENT | Single tool | Single agent | Advanced | Analysis | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
85 | Open the file 'Sample.nid', extract the data corresponding to the forward friction force image, plot a line profile across the image, and save as 'question_105.png' | N/CODE | N/EXTRA | N/CODE | N/AGENT | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | N/EXTRA | N/AGENT | N/AGENT | Single tool | Single agent | Advanced | Analysis | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
86 | Open the file 'Sample.nid', extract the data corresponding to the Z-axis forward image, and calculate the maximum height of any object. | N/CODE | N/CODE | N/CODE | N/AGENT | N/AGENT | N/AGENT | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | Single tool | Single agent | Advanced | Calculation, Analysis | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
87 | Open the file 'Sample.nid,' extract the Z-axis forward image data, and plot two line profiles: one vertical and one horizontal across the image. Save the plot as 'question_107.png.' | N/CODE | N/CODE | N/CODE | N/AGENT | N/AGENT | N/AGENT | N/CODE | N/CODE | N/CODE | N/AGENT | N/AGENT | N/AGENT | Single tool | Single agent | Advanced | Analysis | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
88 | Open the file 'Sample.nid,' extract the Z-axis backward image data, and plot two line profiles: one vertical and one horizontal across the image. Save the plot as 'question_107.png.' | N/CODE | N/CODE | N/CODE | N/AGENT | N/AGENT | N/AGENT | N/CODE | N/CODE | N/CODE | N/AGENT | N/AGENT | N/AGENT | Single tool | Single agent | Advanced | Analysis | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
89 | Change the cantilever tip to Multi75E-G in the AFM software. | YES | YES | YES | YES | YES | YES | YES | YES | N/EXTRA | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 3 | 2 | 3 | 1 | 1 | 1 | 1
90 | Change the cantilever tip to Multi75M-G in the AFM software. | YES | YES | YES | YES | YES | YES | YES | N/EXTRA | YES | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 3 | 2 | 3 | 1 | 1 | 1 | 1
91 | Change the cantilever tip to NCLR in the AFM software. | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 3 | 3 | 3 | 1 | 1 | 1 | 1
92 | Change the cantilever tip to ACL-A in the AFM software. | YES | YES | YES | YES | N/TOOL | N/CODE | YES | YES | YES | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 1 | 3 | 3 | 1 | 1 | 1 | 1
93 | Change the cantilever tip to ANSCM in the AFM software. | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 3 | 3 | 3 | 1 | 1 | 1 | 1
94 | Change the cantilever tip to MFMR in the AFM software. | YES | YES | YES | N/CODE | YES | YES | YES | YES | YES | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 2 | 3 | 3 | 1 | 1 | 1 | 1
95 | Set image width to \\pu{150 nm} and P gain to 500 in the AFM software. | YES | YES | YES | YES | YES | N/CODE | YES | N/EXTRA | N/EXTRA | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 2 | 1 | 3 | 1 | 1 | 1 | 1
96 | Set image width to \pu{150 nm} and D gain to 15 in the AFM software. | YES | YES | YES | YES | YES | YES | N/EXTRA | N/EXTRA | N/EXTRA | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 3 | 0 | 3 | 1 | 1 | 0 | 1
97 | Set image width to \pu{150 nm} and I gain to 150 in the AFM software. | YES | YES | YES | YES | YES | YES | N/EXTRA | N/EXTRA | N/EXTRA | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 3 | 0 | 3 | 1 | 1 | 0 | 1
98 | Set image width to \pu{250 nm}, I gain to 250, and D gain to 50 in the AFM software. | YES | YES | YES | YES | YES | YES | YES | N/EXTRA | N/EXTRA | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 3 | 1 | 3 | 1 | 1 | 1 | 1
99 | Set image width to \pu{250 nm}, D gain to 250, and P gain to 5000 in the AFM software. | YES | YES | YES | YES | N/CODE | N/EXTRA | YES | N/EXTRA | YES | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 1 | 2 | 3 | 1 | 1 | 1 | 1
100 | Set image size as $150 \times 150 \\pu{nm}$ and change the cantilever tip to Dyn190Al in the AFM software. | YES | YES | YES | N/CODE | N/CODE | N/EXTRA | YES | YES | YES | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 0 | 3 | 3 | 1 | 0 | 1 | 1
[18 empty] | 195 | 98.5 | 112 | 137 | 77 | 42 | 47 | 50
| TIME/LINE: 1, POINT/LINE: 10, LINE/FRAME: 10, IMAGE SIZE: 10NM | [16 empty] | ALL AVERAGE |  |  |  | BEST CASE
59: name changed after experimnet
[18 empty] | 65 | 32.8333 | 37.3333 | 45.6667 | 77 | 42 | 47 | 50
Error
| N/CODE | 60 | 90 | 96 | 20
| N/AGENT | 4 | 82 | 13 | 85
| N/TOOL | 1 | 1 | 33 | 9
| N/EXTRA | 17 | 21 | 40 | 39
|  | 20 | 30 | 32 | 6.6667
|  | 1.3333 | 27.3333 | 4.3333 | 28.3333
|  | 0.33333 | 0.33333 | 11 | 3
|  | 5.6667 | 7 | 13.3333 | 13
|  | 27.3333 | 64.6667 | 60.6667 | 51

## Single-Agent-Multi-Tool
| GPT-4o |  |  | GPT-3.5 |  |  | Llama-3.3 |  |  | Claude-3.5 |  |  | N/CODE
1 | YES | YES | YES | YES | YES | N/CODE | YES | YES | YES | YES | YES | YES | N/AGENT
13 | YES | YES | YES | N/TOOL | N/TOOL | N/TOOL | N/TOOL | YES | N/TOOL | YES | YES | YES | N/TOOL
100 | YES | YES | YES | N/TOOL | N/TOOL | N/TOOL | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | YES | N/EXTRA
23 | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | N/TOOL | N/TOOL | N/TOOL | N/TOOL | N/TOOL | N/TOOL | Y/PARTIAL
25 | YES | Y/PARTIAL | Y/PARTIAL | Y/PARTIAL | Y/PARTIAL | Y/PARTIAL | Y/PARTIAL | Y/PARTIAL | Y/PARTIAL | Y/PARTIAL | Y/PARTIAL | Y/PARTIAL | YES
33 | N/TOOL | N/TOOL | N/CODE | N/CODE | N/CODE | N/TOOL | N/EXTRA | N/CODE | N/TOOL | N/TOOL | N/TOOL | N/TOOL | N/KNOW
35 | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES
48 | N/CODE | N/CODE | N/CODE | N/CODE | N/TOOL | N/TOOL | N/CODE | N/TOOL | N/CODE | N/TOOL | N/TOOL | N/CODE
57 | N/EXTRA | YES | Y/PARTIAL | Y/PARTIAL | N/EXTRA | N/EXTRA | N/EXTRA | N/EXTRA | N/EXTRA | N/EXTRA | Y/PARTIAL | N/EXTRA
59 | YES | N/EXTRA | YES | N/TOOL | N/TOOL | N/TOOL | Y/PARTIAL | Y/PARTIAL | N/EXTRA | Y/PARTIAL | N/CODE | Y/PARTIAL
Note on D6: Indrajeet Mandal: only paramter change
Note on H6: Indrajeet Mandal: NO APR
Note on I6: Indrajeet Mandal: NO APR
Note on K6: Indrajeet Mandal: NO APR
Note on L6: Indrajeet Mandal: NO APR
Note on M6: Indrajeet Mandal: NO APR NO FIN
Note on H7: Indrajeet Mandal: exta
Note on F10: Indrajeet Mandal: EXTRA PARA
Note on G10: Indrajeet Mandal: EXTRA PARA
Note on K10: Indrajeet Mandal: IMAGE DONE NO APR
Note on M10: Indrajeet Mandal: NO APR
Note on I11: Indrajeet Mandal: EXTRA
Note on J11: Indrajeet Mandal: EXTRA

## ALL
SINGLE AGENT MULTI TOOL
| GPT-4o |  |  | GPT-3.5 |  |  | Llama-3.3 |  |  | Claude-3.5 |  |  |  | GPT-4o | GPT-3.5 | Llama-3.3 | Claude-3.5 | GPT-4o | GPT-3.5 | Llama-3.3 | Claude-3.5 | Require Tool | Require Agent | Operation Type | Requires
1 | YES | YES | YES | YES | YES | N/CODE | YES | YES | YES | YES | YES | YES |  | 3 | 2 | 3 | 3 | 1 | 1 | 1 | 1 | Multiple tools | Single agent | Basic | Documentation
13 | YES | YES | YES | N/TOOL | N/TOOL | N/TOOL | N/TOOL | YES | N/TOOL | YES | YES | YES |  | 3 | 0 | 1 | 3 | 1 | 0 | 1 | 1 | Multiple tools | Single agent | Basic | Documentation
100 | YES | YES | YES | N/TOOL | N/TOOL | N/TOOL | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | YES |  | 3 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | Multiple tools | Single agent | Basic | Documentation
23 | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | N/TOOL | N/TOOL | N/TOOL | N/TOOL | N/TOOL | N/TOOL |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Single tool | Single agent | Advanced | Calculation, Analysis
25 | YES | Y/PARTIAL | Y/PARTIAL | Y/PARTIAL | Y/PARTIAL | Y/PARTIAL | Y/PARTIAL | Y/PARTIAL | Y/PARTIAL | Y/PARTIAL | Y/PARTIAL | Y/PARTIAL |  | 2 | 1.5 | 1.5 | 1.5 | 1 | 0.5 | 0.5 | 0.5 | Multiple tools | Single agent | Advanced | Documentation
33 | N/TOOL | N/TOOL | N/CODE | N/CODE | N/CODE | N/TOOL | N/EXTRA | N/CODE | N/TOOL | N/TOOL | N/TOOL | N/TOOL |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Single tool | Single agent | Basic | Analysis
35 | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |  | 3 | 3 | 3 | 3 | 1 | 1 | 1 | 1 | Single tool | Single agent | Basic | None
48 | N/CODE | N/CODE | N/CODE | N/CODE | N/TOOL | N/TOOL | N/CODE | N/TOOL | N/CODE | N/TOOL | N/TOOL | N/CODE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Single tool | Single agent | Basic | Analysis
57 | N/EXTRA | YES | Y/PARTIAL | Y/PARTIAL | N/EXTRA | N/EXTRA | N/EXTRA | N/EXTRA | N/EXTRA | N/EXTRA | Y/PARTIAL | N/EXTRA |  | 1.5 | 0.5 | 0 | 0.5 | 1 | 0.5 | 0 | 0.5 | Multiple tools | Multiple agents | Advanced | Documentation, Calculation, Analysis
59 | YES | N/EXTRA | YES | N/TOOL | N/TOOL | N/TOOL | Y/PARTIAL | Y/PARTIAL | N/EXTRA | Y/PARTIAL | N/CODE | Y/PARTIAL |  | 2 | 0 | 1 | 1 | 1 | 0 | 0.5 | 0.5 | Multiple tools | Multiple agents | Advanced | Documentation, Calculation, Analysis
[14 empty] | 17.5 | 7 | 9.5 | 13 | 7 | 3 | 4 | 5.5
N/CODE | 7 | 7 | 6 | 4 | [9 empty] | 58.3333 | 23.3333 | 31.6667 | 43.3333 | 70 | 30 | 40 | 55
N/TOOL | 2 | 12 | 7 | 8
N/EXTRA | 2 | 2 | 5 | 2
MULTI AGENT MULTI TOOL
| GPT-4o |  |  | GPT-3.5 |  |  | Llama-3.3 |  |  | Claude-3.5 | [17 empty] | SINGLE AGENT MULTI TOOL |  |  |  | MULTI AGENT MULTI TOOL
1 | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |  | 3 | 3 | 3 | 3 | 1 | 1 | 1 | 1 |  |  | Require Tool | Require Agent | Operation Type | Requires | GPT-4o | GPT-3.5 | Llama-3.3 | Claude-3.5 | GPT-4o | GPT-3.5 | Llama-3.3 | Claude-3.5
13 | YES | N/EXTRA | N/EXTRA | YES | YES | YES | YES | YES | YES | YES | YES | YES |  | 1 | 3 | 3 | 3 | 1 | 1 | 1 | 1 |  | 1 | Multiple tools | Single agent | Basic | Documentation | 3 | 2 | 3 | 3 | 3 | 3 | 3 | 3
100 | YES | YES | YES | N/CODE | N/CODE | N/EXTRA | YES | YES | YES | YES | YES | YES |  | 3 | 0 | 3 | 3 | 1 | 0 | 1 | 1 |  | 2 | Multiple tools | Single agent | Basic | Documentation | 3 | 0 | 1 | 3 | 1 | 3 | 3 | 3
23 | N/CODE | N/TOOL | Y/PARTIAL | N/KNOW | N/AGENT | N/AGENT | N/CODE | N/CODE | N/CODE | N/AGENT | N/AGENT | N/AGENT |  | 0.5 | 0 | 0 | 0 | 0.5 | 0 | 0 | 0 |  | 3 | Single tool | Single agent | Advanced | Calculation, Analysis | 0 | 0 | 0 | 0 | 0.5 | 0 | 0 | 0
25 | YES | YES | YES | N/CODE | N/CODE | N/EXTRA | N/EXTRA | N/EXTRA | N/EXTRA | Y/PARTIAL | Y/PARTIAL | Y/PARTIAL |  | 3 | 0 | 0 | 1.5 | 1 | 0 | 0 | 0.5 |  | 4 | Multiple tools | Single agent | Advanced | Documentation | 2 | 1.5 | 1.5 | 1.5 | 3 | 0 | 0 | 1.5
33 | YES | YES | YES | N/AGENT | N/AGENT | N/CODE | N/CODE | N/CODE | N/CODE | YES | N/AGENT | N/AGENT |  | 3 | 0 | 0 | 1 | 1 | 0 | 0 | 1 |  | 5 | Single tool | Single agent | Basic | Analysis | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 1
35 | YES | YES | YES | N/AGENT | N/AGENT | N/AGENT | N/TOOL | N/TOOL | N/TOOL | N/AGENT | N/AGENT | N/AGENT |  | 3 | 0 | 0 | 0 | 1 | 0 | 0 | 0 |  | 6 | Single tool | Single agent | Basic | None | 3 | 3 | 3 | 3 | 3 | 0 | 0 | 0
48 | YES | N/CODE | YES | N/AGENT | N/AGENT | N/EXTRA | N/CODE | YES | N/CODE | N/AGENT | N/AGENT | N/AGENT |  | 2 | 0 | 1 | 0 | 1 | 0 | 1 | 0 |  | 7 | Single tool | Single agent | Basic | Analysis | 0 | 0 | 0 | 0 | 2 | 0 | 1 | 0
57 | N/CODE | Y/PARTIAL | Y/PARTIAL | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | N/EXTRA | N/EXTRA | N/EXTRA |  | 1 | 0 | 0 | 0 | 0.5 | 0 | 0 | 0 |  | 8 | Multiple tools | Multiple agents | Advanced | Documentation, Calculation, Analysis | 1.5 | 0.5 | 0 | 0.5 | 1 | 0 | 0 | 0
59 | YES | N/EXTRA | Y/PARTIAL | N/CODE | N/CODE | N/CODE | N/CODE | N/EXTRA | N/CODE | N/EXTRA | N/EXTRA | N/EXTRA |  | 1.5 | 0 | 0 | 0 | 1 | 0 | 0 | 0 |  | 9 | Multiple tools | Multiple agents | Advanced | Documentation, Calculation, Analysis | 2 | 0 | 1 | 1 | 1.5 | 0 | 0 | 0
[14 empty] | 21 | 6 | 10 | 11.5 | 9 | 2 | 4 | 4.5 |  | 10 | Multiple tools | Single agent | Basic | Documentation | 3 | 0 | 0 | 1 | 3 | 0 | 3 | 3
| GPT-4o | GPT-3.5 | Llama-3.3 | Claude-3.5
N/CODE | 3 | 11 | 13 | 0 | [9 empty] | 70 | 20 | 33.3333 | 38.3333 | 90 | 20 | 40 | 45
N/TOOL | 1 | 0 | 3 | 0
N/EXTRA | 3 | 3 | 4 | 6
[13 empty] | LLMs | GPT-4o | GPT-3.5 | Llama-3.3 | Claude-3.5
[13 empty] | SINGLE AGENT MULTI TOOL | 58.3333 | 23.3333 | 31.6667 | 43.3333
[13 empty] | MULTI AGENT MULTI TOOL | 70 | 20 | 33.3333 | 38.3333
MCP
1 | YES | YES | N/CODE | 2
13 | YES | YES | YES | 3
100 | N/CODE | N/CODE | N/CODE | 0
23 | N/TOOL | N/TOOL | N/TOOL | 0
25 | Y/PARTIAL | Y/PARTIAL | Y/PARTIAL | 1.5
33 | N/TOOL | N/TOOL | N/TOOL | 0
35 | YES | YES | YES | 3
48 | N/TOOL | N/TOOL | N/TOOL | 0
57 | Y/PARTIAL | Y/PARTIAL | Y/PARTIAL | 1.5
59 | N/CODE | N/CODE | N/CODE | 0
36.6667
Note on D7: Indrajeet Mandal: only paramter change
Note on H7: Indrajeet Mandal: NO APR
Note on I7: Indrajeet Mandal: NO APR
Note on K7: Indrajeet Mandal: NO APR
Note on L7: Indrajeet Mandal: NO APR
Note on M7: Indrajeet Mandal: NO APR NO FIN
Note on H8: Indrajeet Mandal: exta
Note on F11: Indrajeet Mandal: EXTRA PARA
Note on G11: Indrajeet Mandal: EXTRA PARA
Note on K11: Indrajeet Mandal: IMAGE DONE NO APR
Note on M11: Indrajeet Mandal: NO APR
Note on I12: Indrajeet Mandal: EXTRA
Note on J12: Indrajeet Mandal: EXTRA

## Figure_data
Ques. No. | Question | GPT-4o |  |  | GPT-3.5 |  |  | Llama-3.3 |  |  | Claude-3.5 |  |  | Require Tool | Require Agent | Operation Type | Requires | GPT-4o | GPT-3.5 | Llama-3.3 | Claude-3.5 | GPT-4o | GPT-3.5 | Llama-3.3 | Claude-3.5
1 | Set image size as $100 \times 100 \pu{nm}$ in the AFM software. | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 3 | 3 | 3 | 1 | 1 | 1 | 1
2 | Set the P gain to 100 in the AFM software. | YES | YES | YES | N/CODE | YES | YES | YES | YES | YES | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 2 | 3 | 3 | 1 | 1 | 1 | 1 | Row Labels | Count of GPT-4o | Count of GPT-3.5 | Count of Llama-3.3 | Count of Claude-3.5 | Sum of GPT-4o2 | Sum of GPT-3.5 | Sum of Llama-3.3 | Sum of Claude-3.5
3 | Set the I gain to 1000 in the AFM software. | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 3 | 3 | 3 | 1 | 1 | 1 | 1 | Analysis | 14 | 14 | 14 | 14 | 14 | 0 | 9 | 1
4 | Set the D gain to 10 in the AFM software. | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 3 | 3 | 3 | 1 | 1 | 1 | 1 | Calculation | 10 | 10 | 10 | 10 | 17 | 1 | 2 | 3
5 | Set the $\frac{time}{line}$ to \pu{1 s} in the AFM software. | YES | YES | YES | N/CODE | N/CODE | YES | YES | N/EXTRA | YES | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 1 | 2 | 3 | 1 | 1 | 1 | 1 | Calculation, Analysis | 8 | 8 | 8 | 8 | 10.5 | 2 | 1.5 | 2
6 | Set setpoint to \pu{1 V} in the AFM software. | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 3 | 3 | 3 | 1 | 1 | 1 | 1 | Documentation | 48 | 48 | 48 | 48 | 131 | 95.5 | 96.5 | 126.5
7 | Set image width to \pu{200 nm} in the AFM software. | YES | YES | YES | YES | N/CODE | YES | YES | YES | YES | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 2 | 3 | 3 | 1 | 1 | 1 | 1 | Documentation, Analysis | 5 | 5 | 5 | 5 | 3.5 | 0 | 0 | 1
8 | Set image height to \pu{100 nm} in the AFM software. | YES | YES | YES | YES | YES | YES | N/EXTRA | YES | N/TOOL | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 3 | 1 | 3 | 1 | 1 | 1 | 1 | Documentation, Calculation | 5 | 5 | 5 | 5 | 5.5 | 0 | 0 | 1
9 | Set image rotation to \pu{20 degree} in the AFM software. | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 3 | 3 | 3 | 1 | 1 | 1 | 1 | Documentation, Calculation, Analysis | 6 | 6 | 6 | 6 | 6 | 0 | 0 | 1
10 | Set overscan to $5 %$ the AFM software. | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 3 | 3 | 3 | 1 | 1 | 1 | 1 | Documentation, None | 2 | 2 | 2 | 2 | 1.5 | 0 | 3 | 1.5
11 | Bring the AFM tip to the sample surface. | YES | YES | YES | YES | YES | N/CODE | YES | YES | YES | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 2 | 3 | 3 | 1 | 1 | 1 | 1 | None | 2 | 2 | 2 | 2 | 6 | 0 | 0 | 0
12 | Retract the AFM tip from the sample surface. | YES | YES | YES | N/CODE | YES | N/CODE | YES | YES | YES | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 1 | 3 | 3 | 1 | 1 | 1 | 1 | Grand Total | 100 | 100 | 100 | 100 | 195 | 98.5 | 112 | 137
13 | Initiate the scanning process in the AFM software. | YES | N/EXTRA | N/EXTRA | YES | YES | YES | YES | YES | YES | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 1 | 3 | 3 | 3 | 1 | 1 | 1 | 1
14 | Terminate the scanning process for the AFM. | YES | YES | YES | N/CODE | N/CODE | N/CODE | YES | YES | YES | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 0 | 3 | 3 | 1 | 0 | 1 | 1
15 | Change the cantilever tip to Multi75AL-G in the AFM software. | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 3 | 3 | 3 | 1 | 1 | 1 | 1 | Row Labels | Count of GPT-4o | Count of GPT-3.5 | Count of Llama-3.3 | Count of Claude-3.5 | Sum of GPT-4o2 | Sum of GPT-3.5 | Sum of Llama-3.3 | Sum of Claude-3.5 | GPT-4o | GPT-3.5 | Llama 3.3 | Claude 3.5
16 | Change the cantilever tip to Dyn190Al in the AFM software. | YES | YES | YES | YES | YES | N/CODE | N/EXTRA | N/EXTRA | N/EXTRA | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 2 | 0 | 3 | 1 | 1 | 0 | 1 | Analysis | 14 | 14 | 14 | 14 | 14 | 0 | 9 | 1 | 33.3333 | 0 | 21.4286 | 2.381
17 | Change the AFM operation mode to contact mode in the AFM software. | YES | YES | YES | YES | N/KNOW | N/CODE | YES | YES | YES | N/KNOW | N/KNOW | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 1 | 3 | 1 | 1 | 1 | 1 | 1 | Calculation | 10 | 10 | 10 | 10 | 17 | 1 | 2 | 3 | 56.6667 | 3.3333 | 6.6667 | 10
18 | Change the AFM operation mode to tapping mode in the AFM software. | YES | YES | YES | N/CODE | N/KNOW | YES | YES | YES | N/EXTRA | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 1 | 2 | 3 | 1 | 1 | 1 | 1 | Calculation, Analysis | 8 | 8 | 8 | 8 | 10.5 | 2 | 1.5 | 2 | 43.75 | 8.3333 | 6.25 | 8.3333
19 | Change the AFM operation mode to phase contrast mode in the AFM software. | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 3 | 3 | 3 | 1 | 1 | 1 | 1 | Documentation | 48 | 48 | 48 | 48 | 131 | 95.5 | 96.5 | 126.5 | 88.3333 | 63.6667 | 66.3333 | 85.3333
20 | Change the AFM operation mode to lateral force mode in the AFM software. | YES | YES | YES | YES | N/CODE | N/CODE | YES | YES | YES | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 1 | 3 | 3 | 1 | 1 | 1 | 1 | Documentation, Analysis | 5 | 5 | 5 | 5 | 3.5 | 0 | 0 | 1 | 23.3333 | 0 | 0 | 6.6667
21 | Change the AFM operation mode to static force mode in the AFM software. | YES | YES | YES | YES | N/CODE | YES | YES | N/CODE | YES | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 2 | 2 | 3 | 1 | 1 | 1 | 1 | Documentation, Calculation | 5 | 5 | 5 | 5 | 5.5 | 0 | 0 | 1 | 36.6667 | 0 | 0 | 6.6667
22 | Open the file 'Sample.nid', extract the data corresponding to the Z-axis forward image, calculate the number of square grids present in the image, and save the Z-axis forward image as 'question_22.png' | N/AGENT | N/CODE | N/CODE | N/KNOW | N/KNOW | N/AGENT | N/CODE | N/CODE | N/CODE | N/AGENT | N/AGENT | N/AGENT | Single tool | Single agent | Advanced | Calculation, Analysis | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Documentation, Calculation, Analysis | 6 | 6 | 6 | 6 | 6 | 0 | 0 | 1 | 33.3333 | 0 | 0 | 5.5556
23 | Open the file 'Sample.nid', extract the data corresponding to the Z-axis backward image, calculate the number of square grids present in the image, and save the Z-axis backward image as 'question_23.png' | N/CODE | N/TOOL | Y/PARTIAL | N/KNOW | N/AGENT | N/AGENT | N/CODE | N/CODE | N/CODE | N/AGENT | N/AGENT | N/AGENT | Single tool | Single agent | Advanced | Calculation, Analysis | 0.5 | 0 | 0 | 0 | 0.5 | 0 | 0 | 0 | Documentation, None | 2 | 2 | 2 | 2 | 1.5 | 0 | 3 | 1.5
24 | Ensure that the P gain is set to 6000 in the AFM software and then capture an image. | Y/PARTIAL | Y/PARTIAL | Y/PARTIAL | N/CODE | N/CODE | Y/PARTIAL | N/EXTRA | N/EXTRA | N/EXTRA | Y/PARTIAL | YES | Y/PARTIAL | Multiple tools | Single agent | Advanced | Documentation | 1.5 | 0.5 | 0 | 2 | 0.5 | 0.5 | 0 | 1 | None | 2 | 2 | 2 | 2 | 6 | 0 | 0 | 0 | 100 | 0 | 0 | 0
25 | Set P gain to 100, I gain to 6000, and D gain to 10 in the AFM software, and then capture an image. | YES | YES | YES | N/CODE | N/CODE | N/EXTRA | N/EXTRA | N/EXTRA | N/EXTRA | Y/PARTIAL | Y/PARTIAL | Y/PARTIAL | Multiple tools | Single agent | Advanced | Documentation | 3 | 0 | 0 | 1.5 | 1 | 0 | 0 | 0.5 | Grand Total | 100 | 100 | 100 | 100 | 195 | 98.5 | 112 | 137
26 | Change the cantilever tip to Multi75AL-G in the AFM software, and then capture an image. | Y/PARTIAL | N/EXTRA | YES | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | N/EXTRA | N/EXTRA | N/EXTRA | Multiple tools | Single agent | Advanced | Documentation | 1.5 | 0 | 0 | 0 | 1 | 0 | 0 | 0
27 | Change the AFM operation mode to lateral force mode in the AFM software, and then capture an image. | N/EXTRA | N/EXTRA | N/EXTRA | N/CODE | N/EXTRA | N/EXTRA | N/EXTRA | N/EXTRA | N/EXTRA | Y/PARTIAL | N/EXTRA | N/EXTRA | Multiple tools | Single agent | Advanced | Documentation | 0 | 0 | 0 | 0.5 | 0 | 0 | 0 | 0.5
28 | Open the file 'Sample.nid', extract the data corresponding to the Z-axis forward image, and save a single grid image as 'question_28.png' | N/CODE | N/CODE | N/CODE | N/EXTRA | N/KNOW | N/AGENT | N/CODE | N/CODE | N/CODE | N/AGENT | N/AGENT | N/AGENT | Multiple tools | Single agent | Advanced | Analysis | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Row Labels | GPT-4o | GPT-3.5 | Llama 3.3 | Claude 3.5 | Row Labels | GPT-4o | GPT-3.5 | Llama 3.3 | Claude 3.5
29 | Capture an image by setting a $\frac{time}{line}$ that ensures the scanning is completed within 30 seconds. | Y/PARTIAL | N/CODE | Y/PARTIAL | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | N/TOOL | N/TOOL | N/TOOL | Multiple tools | Single agent | Advanced | Documentation, Calculation | 1 | 0 | 0 | 0 | 0.5 | 0 | 0 | 0 | Documentation | 88.3333 | 63.6667 | 66.3333 | 85.3333 | AFM Handler | 74.4949 | 48.2323 | 50.2525 | 66.1616
30 | Capture an image by setting a $\frac{points}{line}$ and $\frac{time}{line}$ that ensures the scanning is completed within 30 seconds. | Y/PARTIAL | N/CODE | Y/PARTIAL | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | N/TOOL | N/TOOL | N/TOOL | Multiple tools | Single agent | Advanced | Documentation, Calculation | 1 | 0 | 0 | 0 | 0.5 | 0 | 0 | 0 | Analysis | 33.3333 | 0 | 21.4286 | 2.381 | Data Handeler | 41.0256 | 1.9231 | 9.9359 | 6.7308
31 | Set image rotation to \pu{20 degrees} in the AFM software, and then capture an image. | Y/PARTIAL | Y/PARTIAL | YES | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | YES | Y/PARTIAL | Y/PARTIAL | Y/PARTIAL | Multiple tools | Single agent | Advanced | Documentation | 2 | 0 | 1 | 1.5 | 1 | 0 | 1 | 0.5 | Calculation | 56.6667 | 3.3333 | 6.6667 | 10 | Code executor | 74.4949 | 48.2323 | 50.2525 | 66.1616
32 | Set the file name to 'Glass_NAP_2024' in the AFM software. | YES | YES | YES | YES | YES | YES | N/TOOL | YES | YES | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 3 | 2 | 3 | 1 | 1 | 1 | 1 | Documentation, Analysis | 23.3333 | 0 | 0 | 6.6667 | Document Retriver | 74.4949 | 48.2323 | 50.2525 | 66.1616
33 | Open the file 'Sample.nid,' extract the Z-axis forward image data, and plot it. Save the resulting plot as 'question_33.png.' | YES | YES | YES | N/AGENT | N/AGENT | N/CODE | N/CODE | N/CODE | N/CODE | YES | N/AGENT | N/AGENT | Single tool | Single agent | Basic | Analysis | 3 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | Documentation, Calculation | 36.6667 | 0 | 0 | 6.6667 | Image optimizer | 62.5 | 0 | 25 | 12.5
34 | Open the file 'Sample.nid,' extract the Z-axis backward image data, and plot it. Save the resulting plot as 'question_34.png.' | N/CODE | YES | YES | N/AGENT | N/AGENT | N/AGENT | N/CODE | N/CODE | N/CODE | N/AGENT | N/AGENT | N/AGENT | Single tool | Single agent | Basic | Analysis | 2 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | Calculation, Analysis | 43.75 | 8.3333 | 6.25 | 8.3333 | Image Anlyser | 39.2361 | 2.0833 | 8.6806 | 6.25
35 | Optimize the values of the P, I, and D gains using a genetic algorithm. Do not correct the baseline. | YES | YES | YES | N/AGENT | N/AGENT | N/AGENT | N/TOOL | N/TOOL | N/TOOL | N/AGENT | N/AGENT | N/AGENT | Single tool | Single agent | Basic | None | 3 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | Documentation, Calculation, Analysis | 33.3333 | 0 | 0 | 5.5556
36 | Optimize the values of the P, I, and D gains using a genetic algorithm. Correct the baseline. | YES | YES | YES | N/AGENT | N/AGENT | N/AGENT | N/TOOL | N/TOOL | N/TOOL | N/AGENT | N/AGENT | N/AGENT | Single tool | Single agent | Basic | None | 3 | 0 | 0 | 0 | 1 | 0 | 0 | 0
37 | Change the cantilever tip to Tap190Al-G in the AFM software. | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 3 | 3 | 3 | 1 | 1 | 1 | 1
38 | Change the cantilever tip to ContAL-G in the AFM software. | YES | YES | YES | YES | YES | YES | N/CODE | YES | YES | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 3 | 2 | 3 | 1 | 1 | 1 | 1
39 | Withdraw the AFM tip from the sample surface. | YES | YES | YES | YES | YES | YES | N/TOOL | YES | YES | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 3 | 2 | 3 | 1 | 1 | 1 | 1
40 | Open the file 'Sample.nid,' extract the forward friction force image data, and plot it. Save the resulting plot as 'question_40.png.' | N/CODE | YES | YES | N/AGENT | N/AGENT | N/EXTRA | N/CODE | N/CODE | N/CODE | N/AGENT | N/AGENT | N/AGENT | Single tool | Single agent | Basic | Analysis | 2 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | Row Labels | Count of GPT-4o | Count of GPT-3.5 | Count of Llama-3.3 | Count of Claude-3.5 |  | Sum of GPT-4o | Sum of GPT-3.5 | Sum of Llama-3.3 | Sum of Claude-3.5 | Count of GPT-4o | Count of GPT-3.5 | Count of Llama-3.3 | Count of Claude-3.5
41 | Capture an image by scanning from the up direction. | N/EXTRA | N/EXTRA | N/EXTRA | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | N/EXTRA | Multiple tools | Single agent | Advanced | Documentation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Multiple tools | 69 | 69 | 69 | 69 |  | 153.5 | 96.5 | 101.5 | 131 | 69 | 69 | 69 | 69 | 74.1546 | 46.6184 | 49.0338 | 63.285
42 | Capture an image by scanning from the down direction. | N/EXTRA | YES | YES | N/CODE | Y/PARTIAL | Y/PARTIAL | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | Multiple tools | Single agent | Basic | Documentation | 2 | 1 | 0 | 0 | 1 | 0.5 | 0 | 0 | Single tool | 31 | 31 | 31 | 31 |  | 41.5 | 2 | 10.5 | 6 | 31 | 31 | 31 | 31 | 44.6237 | 2.1505 | 11.2903 | 6.4516
43 | Set P gain to 150, I gain to 5000, and D gain to 5 in the AFM software. | YES | YES | YES | YES | YES | YES | N/EXTRA | YES | N/EXTRA | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 3 | 1 | 3 | 1 | 1 | 1 | 1 | Grand Total | 100 | 100 | 100 | 100 |  | 195 | 98.5 | 112 | 137 | 100 | 100 | 100 | 100
44 | Set image height to \pu{50 nm} and P gain to 175 in the AFM software. | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 3 | 3 | 3 | 1 | 1 | 1 | 1
45 | Set the image size to $150 \times 100 \pu{nm}$, P gain to 75, I gain to 4500, D gain to 0, and $\frac{time}{line}$ to \pu{1 s} in the AFM software. | YES | YES | YES | N/CODE | YES | N/CODE | Y/PARTIAL | Y/PARTIAL | Y/PARTIAL | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 1 | 1.5 | 3 | 1 | 1 | 0.5 | 1
46 | Change the AFM operation mode to dynamic mode in the AFM software. | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 3 | 3 | 3 | 1 | 1 | 1 | 1 | Row Labels | Count of GPT-4o | Count of GPT-3.5 | Count of Llama-3.3 | Count of Claude-3.5 |  | Sum of GPT-4o | Sum of GPT-3.5 | Sum of Llama-3.3 | Sum of Claude-3.5 | Count of GPT-4o | Count of GPT-3.5 | Count of Llama-3.3 | Count of Claude-3.5
47 | Open the file named 'Glass_NAP.nid' from the current directory, extract the friction-forward image data, plot it, and save the resulting plot as 'Glass_NAP_ff_47_GPT-4o.png'. | YES | N/CODE | N/CODE | N/AGENT | N/AGENT | N/AGENT | YES | YES | YES | N/EXTRA | N/EXTRA | N/EXTRA | Single tool | Single agent | Basic | Analysis | 1 | 0 | 3 | 0 | 1 | 0 | 1 | 0 | Multiple agents | 17 | 17 | 17 | 17 |  | 19.5 | 1 | 5 | 4.5 | 17 | 17 | 17 | 17 | 38.2353 | 1.9608 | 9.8039 | 8.8235
48 | Open the file named 'Glass_NAP.nid' from the current directory, extract the z-axis forward image data, plot it, and save the resulting plot as 'Glass_NAP_zf_48_GPT-4o.png'. | YES | N/CODE | YES | N/AGENT | N/AGENT | N/EXTRA | N/CODE | YES | N/CODE | N/AGENT | N/AGENT | N/AGENT | Single tool | Single agent | Basic | Analysis | 2 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | Single agent | 83 | 83 | 83 | 83 |  | 175.5 | 97.5 | 107 | 132.5 | 83 | 83 | 83 | 83 | 70.4819 | 39.1566 | 42.9719 | 53.2129
49 | Open the file named 'Glass_NAP.nid' from the current directory, extract the z-axis backward image data, plot it, and save the resulting plot as 'Glass_NAP_zb_49_GPT-4o.png'. | N/CODE | N/CODE | N/CODE | N/EXTRA | N/EXTRA | N/AGENT | N/CODE | N/CODE | YES | N/EXTRA | N/AGENT | N/AGENT | Single tool | Single agent | Basic | Analysis | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | Grand Total | 100 | 100 | 100 | 100 |  | 195 | 98.5 | 112 | 137 | 100 | 100 | 100 | 100
50 | Open the file named 'Glass_NAP.nid' from the current directory, extract the deflection forward image data, plot it, and save the resulting plot as 'Glass_NAP_df_50_GPT-4o.png'. | N/CODE | N/CODE | YES | N/AGENT | N/AGENT | N/EXTRA | YES | YES | YES | N/EXTRA | N/AGENT | N/AGENT | Single tool | Single agent | Basic | Analysis | 1 | 0 | 3 | 0 | 1 | 0 | 1 | 0
51 | Open the file named 'Glass_NAP.nid' from the current folder, then plot the friction forward image and save it as 'Glass_NAP_51_GPT-4o'. Calculate the corresponding average friction. | Y/PARTIAL | Y/PARTIAL | Y/PARTIAL | N/EXTRA | N/AGENT | N/AGENT | N/CODE | N/CODE | N/CODE | N/AGENT | N/AGENT | N/AGENT | Single tool | Single agent | Advanced | Calculation, Analysis | 1.5 | 0 | 0 | 0 | 0.5 | 0 | 0 | 0
52 | Open the file named 'Glass_NAP.nid' from the current folder and calculate the corresponding average friction. | YES | YES | YES | N/EXTRA | YES | YES | N/TOOL | N/TOOL | N/TOOL | YES | N/AGENT | YES | Single tool | Single agent | Advanced | Calculation, Analysis | 3 | 2 | 0 | 2 | 1 | 1 | 0 | 1 | Row Labels | Count of GPT-4o | Count of GPT-3.5 | Count of Llama-3.32 | Count of Claude-3.52 |  | Sum of GPT-4o | Sum of GPT-3.5 | Sum of Llama-3.32 | Sum of Claude-3.52 | Count of GPT-4o | Count of GPT-3.5 | Count of Llama-3.32 | Count of Claude-3.52
53 | Open the file named "Glass_NAP.nid" from the current folder, and then plot the z-axis forward image from that file, save it as 'question_53.png', and calculate the corresponding average friction. | YES | Y/PARTIAL | N/CODE | N/EXTRA | N/AGENT | N/AGENT | N/TOOL | N/TOOL | N/TOOL | N/AGENT | N/AGENT | N/AGENT | Single tool | Single agent | Advanced | Calculation, Analysis | 1.5 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | Advanced | 44 | 44 | 44 | 44 |  | 43 | 3.5 | 4.5 | 6 | 44 | 44 | 44 | 44 | 32.5758 | 2.6515 | 3.4091 | 4.5455
54 | Open the file named 'Glass_NAP.nid' from the current folder, and then plot the z-axis backward image from that file, save it as 'question_54.png', and calculate the corresponding average friction. | YES | Y/PARTIAL | YES | N/EXTRA | N/AGENT | N/AGENT | N/CODE | N/TOOL | N/TOOL | N/AGENT | N/AGENT | N/AGENT | Single tool | Single agent | Advanced | Calculation, Analysis | 2.5 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | Basic | 56 | 56 | 56 | 56 |  | 152 | 95 | 42.5 | 44 | 56 | 56 | 56 | 56 | 90.4762 | 56.5476 | 25.2976 | 26.1905
55 | Open the file named 'Glass_NAP.nid' from the current folder, and then plot the z-axis forward image from that file, save it as 'question_55.png', and calculate the corresponding root mean squared roughness. | N/CODE | Y/PARTIAL | YES | N/AGENT | N/EXTRA | N/AGENT | Y/PARTIAL | Y/PARTIAL | Y/PARTIAL | N/AGENT | N/EXTRA | N/EXTRA | Single tool | Single agent | Advanced | Calculation, Analysis | 1.5 | 0 | 1.5 | 0 | 1 | 0 | 0.5 | 0 | Grand Total | 100 | 100 | 100 | 100 |  | 195 | 98.5 | 47 | 50 | 100 | 100 | 100 | 100
56 | Capture an AFM image of size $\pu {100 nm} \times \pu {100 nm}$ and calculate the surface friction. | Y/PARTIAL | Y/PARTIAL | N/EXTRA | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | N/EXTRA | N/EXTRA | N/EXTRA | Multiple tools | Multiple agents | Advanced | Documentation, Calculation, Analysis | 1 | 0 | 0 | 0 | 0.5 | 0 | 0 | 0
57 | Capture an AFM image of size $\pu {100 nm} \times \pu {100 nm}$ and calculate the average surface roughness. | N/CODE | Y/PARTIAL | Y/PARTIAL | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | N/EXTRA | N/EXTRA | N/EXTRA | Multiple tools | Multiple agents | Advanced | Documentation, Calculation, Analysis | 1 | 0 | 0 | 0 | 0.5 | 0 | 0 | 0
58 | Capture an AFM image of size $\pu {100 nm} \times \pu {100 nm}$ and calculate the root mean squared surface roughness. | N/CODE | YES | Y/PARTIAL | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | N/EXTRA | N/EXTRA | N/EXTRA | Multiple tools | Multiple agents | Advanced | Documentation, Calculation, Analysis | 1.5 | 0 | 0 | 0 | 1 | 0 | 0 | 0 |  | Singel agent | multiple | single tool | Multi tool | Basic | Advance
59 | Capture an AFM image of size $\pu {100 nm} \times \pu {100 nm}$ with the filename '59_GPT-4o'. Open the latest file from the current folder and calculate the average and root mean squared value of surface roughness. | YES | N/EXTRA | Y/PARTIAL | N/CODE | N/CODE | N/CODE | N/CODE | N/EXTRA | N/CODE | N/EXTRA | N/EXTRA | N/EXTRA | Multiple tools | Multiple agents | Advanced | Documentation, Calculation, Analysis | 1.5 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | GPT-4o | 70.5 | 38.2 | 44.6 | 74.2 | 90.5 | 32.6
60 | Capture an AFM image of size $\\pu {100 nm} \times \\pu {100 nm}$ with the filename '60_GPT-4o'. Open the latest file from the current folder and calculate the average friction and surface roughness | N/EXTRA | Y/PARTIAL | N/EXTRA | N/CODE | N/CODE | N/CODE | N/EXTRA | N/AGENT | N/AGENT | N/EXTRA | N/EXTRA | N/EXTRA | Multiple tools | Multiple agents | Advanced | Documentation, Calculation, Analysis | 0.5 | 0 | 0 | 0 | 0.5 | 0 | 0 | 0 | GPT-3.5 | 39.2 | 2 | 2.2 | 46.6 | 56.5 | 2.7
61 | Capture two AFM images of size $\pu{100nm} \times \pu{100nm}$ in different locations. | N/CODE | N/EXTRA | YES | N/EXTRA | N/EXTRA | N/CODE | N/CODE | N/CODE | N/CODE | N/EXTRA | N/EXTRA | N/EXTRA | Multiple tools | Single agent | Advanced | Documentation, Analysis | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | Llama | 43 | 9.8 | 11.3 | 49 | 25.3 | 3.4
62 | Capture two AFM images of size $\pu{100nm} \times \pu{100nm} $ and $\pu{500nm} \times \pu{500nm}$ in the same location and calculate their average friction and root mean squared surface roughness. | N/CODE | N/EXTRA | Y/PARTIAL | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | Y/PARTIAL | Y/PARTIAL | N/EXTRA | Multiple tools | Multiple agents | Advanced | Documentation, Calculation, Analysis | 0.5 | 0 | 0 | 1 | 0.5 | 0 | 0 | 0.5 | Cloude | 53.2 | 8.8 | 6.5 | 63.3 | 26.2 | 4.5
63 | Open the file 'Sample.nid', and calculate the number of square grids present. | N/CODE | N/CODE | N/CODE | N/AGENT | N/AGENT | N/AGENT | N/CODE | N/CODE | N/CODE | N/AGENT | N/EXTRA | N/AGENT | Single tool | Single agent | Advanced | Calculation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
64 | Open the file 'Sample.nid', and calculate the surface roughness. | YES | YES | YES | N/EXTRA | N/AGENT | N/AGENT | N/TOOL | N/TOOL | N/TOOL | N/AGENT | N/AGENT | N/AGENT | Single tool | Single agent | Basic | Calculation | 3 | 0 | 0 | 0 | 1 | 0 | 0 | 0
65 | Open the file 'Sample.nid', and calculate the friction. | YES | YES | YES | N/AGENT | N/AGENT | N/AGENT | N/TOOL | N/TOOL | N/TOOL | N/AGENT | YES | N/AGENT | Single tool | Single agent | Basic | Calculation | 3 | 0 | 0 | 1 | 1 | 0 | 0 | 1
66 | Open the file 'Sample.nid', and calculate the area of the image. | N/KNOW | N/KNOW | N/KNOW | N/AGENT | N/AGENT | N/AGENT | N/CODE | N/CODE | N/CODE | N/AGENT | N/AGENT | N/AGENT | Single tool | Single agent | Basic | Calculation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
67 | Open the file 'Sample.nid' and calculate the number of distinct objects present. | YES | N/CODE | N/KNOW | N/AGENT | N/AGENT | N/AGENT | N/CODE | N/CODE | N/CODE | N/AGENT | N/AGENT | N/AGENT | Single tool | Single agent | Advanced | Calculation | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0
68 | Open the file 'Sample.nid,' extract the forward friction force image data, and calculate the area of the image. | N/KNOW | N/KNOW | N/KNOW | N/AGENT | N/AGENT | N/AGENT | N/TOOL | N/TOOL | N/TOOL | N/AGENT | N/AGENT | N/AGENT | Single tool | Single agent | Advanced | Calculation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
69 | Open the file 'Sample.nid,' extract the z-axis forward image data, and calculate the area of the image in pixels. | YES | N/CODE | N/KNOW | N/AGENT | N/AGENT | N/AGENT | N/EXTRA | N/CODE | N/CODE | N/AGENT | N/EXTRA | N/AGENT | Single tool | Single agent | Advanced | Calculation | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0
70 | Open the file 'Glass_NAP.nid' from the current folder and calculate the corresponding average friction. | YES | YES | YES | N/AGENT | N/EXTRA | N/AGENT | N/TOOL | N/TOOL | N/TOOL | YES | N/AGENT | YES | Single tool | Single agent | Basic | Calculation | 3 | 0 | 0 | 2 | 1 | 0 | 0 | 1
71 | Open the file 'Glass_NAP.nid' from the current folder and calculate the corresponding surface roughness. | YES | YES | YES | N/AGENT | N/AGENT | N/AGENT | N/TOOL | YES | N/TOOL | N/AGENT | N/AGENT | N/AGENT | Multiple tools | Multiple agents | Basic | Calculation | 3 | 0 | 1 | 0 | 1 | 0 | 1 | 0
72 | Open the file 'Glass_NAP.nid' from the current folder and calculate the corresponding surface roughness and average friction. | YES | YES | YES | YES | N/AGENT | N/AGENT | N/TOOL | YES | N/TOOL | N/AGENT | N/AGENT | N/AGENT | Multiple tools | Multiple agents | Advanced | Calculation | 3 | 1 | 1 | 0 | 1 | 1 | 1 | 0
73 | Acquire an AFM image with dimensions $\pu{1 µm} \times \pu{1 µm}$ at a scan angle of $ 5 degrees $, using the following parameters: P gain = 100, I gain = 5000, D gain = 0, and setpoint = 0.1 V. Save the image with the filename 'Test'. Then, open the latest file in the folder, plot the Z-axis forward image, and save the plot as 'Test.png'. | Y/PARTIAL | Y/PARTIAL | Y/PARTIAL | N/CODE | N/CODE | N/CODE | N/EXTRA | N/AGENT | N/EXTRA | N/CODE | N/CODE | YES | Multiple tools | Multiple agents | Advanced | Documentation, Analysis | 1.5 | 0 | 0 | 1 | 0.5 | 0 | 0 | 1
74 | Acquire an AFM image with dimensions $\pu{500 nm} \times \pu{500 nm}$ at a scan angle of $ 5 degrees $, using the following parameters: P gain = 100, I gain = 5000, D gain = 0, and setpoint = 0.1 V. Save the image with the filename 'Test'. Then, open the latest file in the folder, plot the Z-axis backward image, and save the plot as 'Test_GPT-35.png'. | Y/PARTIAL | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | N/EXTRA | N/AGENT | N/AGENT | N/CODE | N/CODE | N/CODE | Multiple tools | Multiple agents | Advanced | Documentation, Analysis | 0.5 | 0 | 0 | 0 | 0.5 | 0 | 0 | 0
75 | Acquire an AFM image with dimensions $\pu{500 nm} \times \pu{500 nm}$ at a scan angle of $ 5 degrees $, using the following parameters: P gain = 100, I gain = 5000, D gain = 0, and setpoint = 0.1 V. Save the image with the filename 'Test.' Then, open the latest file in the current folder; from that file, extract the Z-axis backward image data, plot it, and save the plot as '75_Test_GPT-4o.png'. | Y/PARTIAL | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | N/AGENT | N/AGENT | N/AGENT | N/CODE | N/CODE | N/CODE | Multiple tools | Multiple agents | Advanced | Documentation, Analysis | 0.5 | 0 | 0 | 0 | 0.5 | 0 | 0 | 0
76 | Capture an AFM image with dimensions $\pu{500 nm} \times \pu{500 nm}$ at a scan angle of $ 5 degrees $, using the following parameters: P gain = 100, I gain = 5000, D gain = 0, and setpoint = 0.1 V. Then, open the latest file in the current folder; from that file, extract the Z-axis backward image data and calculate the area of the image. | Y/PARTIAL | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | N/EXTRA | N/EXTRA | N/EXTRA | Y/PARTIAL | Y/PARTIAL | N/CODE | Multiple tools | Multiple agents | Advanced | Documentation, Calculation | 0.5 | 0 | 0 | 1 | 0.5 | 0 | 0 | 0.5
77 | Capture an AFM image with dimensions $\pu{500 nm} \times \pu{500 nm}$ using the following parameters: P gain = 100, I gain = 5000, D gain = 0. Then open the latest file in the current folder and from that file, extract the Z-axis forward image data and calculate the area of the image. | N/CODE | YES | YES | N/CODE | N/CODE | N/CODE | N/AGENT | N/AGENT | N/EXTRA | N/EXTRA | N/EXTRA | N/EXTRA | Multiple tools | Multiple agents | Advanced | Documentation, Calculation | 2 | 0 | 0 | 0 | 1 | 0 | 0 | 0
78 | Capture an AFM image with dimensions $\pu{500 nm} \times \pu{500 nm}$ using the following parameters: P gain = 100, I gain = 5000, D gain = 0. Then, open the latest file in the current folder, extract the Z-axis forward image data from that file, and calculate the maximum height of any point in the image. | Y/PARTIAL | N/CODE | Y/PARTIAL | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | Multiple tools | Multiple agents | Advanced | Documentation, Calculation | 1 | 0 | 0 | 0 | 0.5 | 0 | 0 | 0
79 | Capture an AFM image of size $\\pu{10000 nm} \times \\pu{10000 nm}$ with the file name '91_GPT-4o'. Open the latest file from the current folder and plot \\pu{1000 nm} length line profile across a distinct step-edge feature and save it as '91_GPT-4o.png'. | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | N/AGENT | N/AGENT | N/AGENT | N/TOOL | N/TOOL | N/TOOL | Multiple tools | Multiple agents | Advanced | Documentation, Analysis | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
80 | Optimize the values of the P, I, and D gains using a genetic algorithm and correct the baseline. Then, adjust the image size to $\\pu{100 nm} \times \\pu{100 nm}$ and update the P, I, and D gains to the optimized values in the AFM software. | Y/PARTIAL | N/AGENT | N/AGENT | N/AGENT | N/AGENT | N/AGENT | Y/PARTIAL | Y/PARTIAL | Y/PARTIAL | Y/PARTIAL | Y/PARTIAL | Y/PARTIAL | Multiple tools | Multiple agents | Advanced | Documentation, None | 0.5 | 0 | 1.5 | 1.5 | 0.5 | 0 | 0.5 | 0.5
81 | Optimize the values of the P, I, and D gains using a genetic algorithm, correct the baseline, and then set the final parameters in the AFM software. | N/AGENT | Y/PARTIAL | Y/PARTIAL | N/AGENT | N/AGENT | N/AGENT | Y/PARTIAL | Y/PARTIAL | Y/PARTIAL | N/AGENT | N/AGENT | N/AGENT | Multiple tools | Multiple agents | Advanced | Documentation, None | 1 | 0 | 1.5 | 0 | 0.5 | 0 | 0.5 | 0
82 | Open the file 'Sample.nid', extract the data corresponding to the Z-axis backward image, plot a line profile across the image, and save as 'question_102.png' | YES | YES | YES | N/AGENT | N/AGENT | N/CODE | N/CODE | N/CODE | N/CODE | N/AGENT | N/AGENT | N/AGENT | Single tool | Single agent | Advanced | Analysis | 3 | 0 | 0 | 0 | 1 | 0 | 0 | 0
83 | Open the file 'Sample.nid', extract the data corresponding to the Z-axis forward image, plot a line profile across the image, and save as 'question_103.png' | N/CODE | N/CODE | N/CODE | N/AGENT | N/EXTRA | N/CODE | YES | N/CODE | N/CODE | N/AGENT | N/AGENT | N/AGENT | Single tool | Single agent | Advanced | Analysis | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0
84 | Open the file 'Sample.nid', extract the data corresponding to the backward friction force image, plot a line profile across the image, and save as 'question_104.png' | N/CODE | N/CODE | N/CODE | N/AGENT | N/AGENT | N/AGENT | N/CODE | N/CODE | N/CODE | N/AGENT | N/EXTRA | N/AGENT | Single tool | Single agent | Advanced | Analysis | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
85 | Open the file 'Sample.nid', extract the data corresponding to the forward friction force image, plot a line profile across the image, and save as 'question_105.png' | N/CODE | N/CODE | N/CODE | N/AGENT | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | N/EXTRA | N/AGENT | N/AGENT | Single tool | Single agent | Advanced | Analysis | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
86 | Open the file 'Sample.nid', extract the data corresponding to the Z-axis forward image, and calculate the maximum height of any object. | N/CODE | N/CODE | N/CODE | N/AGENT | N/AGENT | N/AGENT | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | N/CODE | Single tool | Single agent | Advanced | Calculation, Analysis | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
87 | Open the file 'Sample.nid,' extract the Z-axis forward image data, and plot two line profiles: one vertical and one horizontal across the image. Save the plot as 'question_107.png.' | N/CODE | N/CODE | N/CODE | N/AGENT | N/AGENT | N/AGENT | N/CODE | N/CODE | N/CODE | N/AGENT | N/AGENT | N/AGENT | Single tool | Single agent | Advanced | Analysis | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
88 | Open the file 'Sample.nid,' extract the Z-axis backward image data, and plot two line profiles: one vertical and one horizontal across the image. Save the plot as 'question_107.png.' | N/CODE | N/CODE | N/CODE | N/AGENT | N/AGENT | N/AGENT | N/CODE | N/CODE | N/CODE | N/AGENT | N/AGENT | N/AGENT | Single tool | Single agent | Advanced | Analysis | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
89 | Change the cantilever tip to Multi75E-G in the AFM software. | YES | YES | YES | YES | YES | YES | YES | YES | N/EXTRA | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 3 | 2 | 3 | 1 | 1 | 1 | 1
90 | Change the cantilever tip to Multi75M-G in the AFM software. | YES | YES | YES | YES | YES | YES | YES | N/EXTRA | YES | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 3 | 2 | 3 | 1 | 1 | 1 | 1
91 | Change the cantilever tip to NCLR in the AFM software. | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 3 | 3 | 3 | 1 | 1 | 1 | 1
92 | Change the cantilever tip to ACL-A in the AFM software. | YES | YES | YES | YES | N/TOOL | N/CODE | YES | YES | YES | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 1 | 3 | 3 | 1 | 1 | 1 | 1
93 | Change the cantilever tip to ANSCM in the AFM software. | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 3 | 3 | 3 | 1 | 1 | 1 | 1
94 | Change the cantilever tip to MFMR in the AFM software. | YES | YES | YES | N/CODE | YES | YES | YES | YES | YES | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 2 | 3 | 3 | 1 | 1 | 1 | 1
95 | Set image width to \\pu{150 nm} and P gain to 500 in the AFM software. | YES | YES | YES | YES | YES | N/CODE | YES | N/EXTRA | N/EXTRA | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 2 | 1 | 3 | 1 | 1 | 1 | 1
96 | Set image width to \pu{150 nm} and D gain to 15 in the AFM software. | YES | YES | YES | YES | YES | YES | N/EXTRA | N/EXTRA | N/EXTRA | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 3 | 0 | 3 | 1 | 1 | 0 | 1
97 | Set image width to \pu{150 nm} and I gain to 150 in the AFM software. | YES | YES | YES | YES | YES | YES | N/EXTRA | N/EXTRA | N/EXTRA | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 3 | 0 | 3 | 1 | 1 | 0 | 1
98 | Set image width to \pu{250 nm}, I gain to 250, and D gain to 50 in the AFM software. | YES | YES | YES | YES | YES | YES | YES | N/EXTRA | N/EXTRA | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 3 | 1 | 3 | 1 | 1 | 1 | 1
99 | Set image width to \pu{250 nm}, D gain to 250, and P gain to 5000 in the AFM software. | YES | YES | YES | YES | N/CODE | N/EXTRA | YES | N/EXTRA | YES | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 1 | 2 | 3 | 1 | 1 | 1 | 1
100 | Set image size as $150 \times 150 \\pu{nm}$ and change the cantilever tip to Dyn190Al in the AFM software. | YES | YES | YES | N/CODE | N/CODE | N/EXTRA | YES | YES | YES | YES | YES | YES | Multiple tools | Single agent | Basic | Documentation | 3 | 0 | 3 | 3 | 1 | 0 | 1 | 1
[18 empty] | 195 | 98.5 | 112 | 137 | 77 | 42 | 47 | 50
| TIME/LINE: 1, POINT/LINE: 10, LINE/FRAME: 10, IMAGE SIZE: 10NM | [16 empty] | ALL AVERAGE |  |  |  | BEST CASE
59: name changed after experimnet
[18 empty] | 65 | 32.8333 | 37.3333 | 45.6667 | 77 | 42 | 47 | 50