## Sheet1
QS-No | GPT-40 | GPT-3.5 | GPT-4o_time (s) | GPT-3.5_time (s) | Comment |  | Question | User Name | Question | Require Tool | Require Agent | Operation Type | Requires | GPT-4-error | description | GPT3.5 error | description
1 | YES | YES | 11.43 | 8.9 |  |  | 1 | Indrajeet | Set image size as $100 \times 100 \pu{nm}$ in the AFM software. | Multiple tools | Single agent | Basic | Documentation
2 | YES | NO | 10.28 |  | Error |  | 2 | Indrajeet | Set the P gain to 100 in the AFM software. | Multiple tools | Single agent | Basic | Documentation |  |  | code generation
3 | YES | YES | 6.66 | 6.23 |  |  | 3 | Indrajeet | Set the I gain to 1000 in the AFM software. | Multiple tools | Single agent | Basic | Documentation
4 | YES | YES | 6.61 | 5.63 |  |  | 4 | Indrajeet | Set the D gain to 10 in the AFM software. | Multiple tools | Single agent | Basic | Documentation
5 | YES | NO | 8.26 |  | Error |  | 5 | Indrajeet | Set the $\frac{time}{line}$ to \pu{1 s} in the AFM software. | Multiple tools | Single agent | Basic | Documentation |  |  | code Generation | wrong data retrieve
6 | YES | NO | 5.75 |  | Error |  | 6 | Indrajeet | Set setpoint to \pu{1 V} in the AFM software. | Multiple tools | Single agent | Basic | Documentation |  |  | code Generation
7 | YES | YES | 8 | 10.09 |  |  | 7 | Indrajeet | Set image width to \pu{200 nm} in the AFM software. | Multiple tools | Single agent | Basic | Documentation
8 | YES | YES | 7.64 | 7.13 |  |  | 8 | Indrajeet | Set image height to \pu{100 nm} in the AFM software. | Multiple tools | Single agent | Basic | Documentation
9 | YES | YES | 7.23 | 5.65 |  |  | 9 | Indrajeet | Set image rotation to \pu{20 degree} in the AFM software. | Multiple tools | Single agent | Basic | Documentation
10 | YES | YES | 7.17 | 7.88 |  |  | 10 | Indrajeet | Set overscan to $5 %$ the AFM software. | Multiple tools | Single agent | Basic | Documentation
11 | YES | YES | 50.05 | 10.33 |  |  | 11 | Indrajeet | Bring the AFM tip to the sample surface. | Multiple tools | Single agent | Basic | Documentation
12 | YES | YES | 50.1 | 6.04 |  |  | 12 | Indrajeet | Retract the AFM tip from the sample surface. | Multiple tools | Single agent | Basic | Documentation
13 | NO | YES | 17.91 | 5.31 |  |  | 13 | Indrajeet | Initiate the scanning process in the AFM software. | Multiple tools | Single agent | Basic | Documentation | Understand | do extra things like approach and then sacn
14 | YES | YES | 5.34 | 16.06 |  |  | 14 | Indrajeet | Terminate the scanning process for the AFM. | Multiple tools | Single agent | Basic | Documentation
15 | YES | YES | 8.77 | 6.34 |  |  | 15 | Indrajeet | Change the cantilever tip to Multi75AL-G in the AFM software. | Multiple tools | Single agent | Basic | Documentation
16 | YES | YES | 7.45 | 5.55 |  |  | 16 | Indrajeet | Change the cantilever tip to Dyn190Al in the AFM software. | Multiple tools | Single agent | Basic | Documentation
17 | YES | NO | 10.8 | 6.93 |  |  | 17 | Indrajeet | Change the AFM operation mode to contact mode in the AFM software. | Multiple tools | Single agent | Basic | Documentation |  |  | code Generation
18 | YES | NO | 8.17 | 6.76 |  |  | 18 | Indrajeet | Change the AFM operation mode to tapping mode in the AFM software. | Multiple tools | Single agent | Basic | Documentation |  |  | code Generation
19 | YES | YES | 8.22 | 8 |  |  | 19 | Indrajeet | Change the AFM operation mode to phase contrast mode in the AFM software. | Multiple tools | Single agent | Basic | Documentation
20 | YES | NO | 8.87 | 0.89 |  |  | 20 | Indrajeet | Change the AFM operation mode to lateral force mode in the AFM software. | Multiple tools | Single agent | Basic | Documentation |  |  | agent call
21 | YES | YES | 6.39 | 10.58 |  |  | 21 | Indrajeet | Change the AFM operation mode to static force mode in the AFM software. | Multiple tools | Single agent | Basic | Documentation
22 | NO | NO | 34.37 |  | c |  | 22 | Indrajeet | Open the file 'Sample.nid', extract the data corresponding to the Z-axis forward image, calculate the number of square grids present in the image, and save the Z-axis forward image as 'question_22.png' | Single tool | Single agent | Advanced | Calculation, Analysis | code generation | not allowed to install module | code generation
23 | NO | NO | 15.77 |  | Error |  | 23 | Indrajeet | Open the file 'Sample.nid', extract the data corresponding to the Z-axis backward image, calculate the number of square grids present in the image, and save the Z-axis backward image as 'question_23.png' | Single tool | Single agent | Advanced | Calculation, Analysis | code generation | generate wong code | code generation
24 | YES | NO | 26.18 |  | Error |  | 24 | Indrajeet | Ensure that the P gain is set to 6000 in the AFM software and then capture an image. | Multiple tools | Single agent | Advanced | Documentation |  |  | code generation
25 | YES | YES | 17.73 | 12.58 |  |  | 25 | Indrajeet | Set P gain to 100, I gain to 6000, and D gain to 10 in the AFM software, and then capture an image. | Multiple tools | Single agent | Advanced | Documentation
26 | YES | YES | 24.11 | 17.53 |  |  | 26 | Indrajeet | Change the cantilever tip to Multi75AL-G in the AFM software, and then capture an image. | Multiple tools | Single agent | Advanced | Documentation
27 | YES | NO | 11.18 |  | Error |  | 27 | Indrajeet | Change the AFM operation mode to tapping mode in the AFM software, and then capture an image. | Multiple tools | Single agent | Advanced | Documentation |  |  | code generation
28 | NO | NO | 20.58 |  | Error |  | 28 | Indrajeet | Open the file 'Sample.nid', extract the data corresponding to the Z-axis forward image, and save a single grid image as 'question_28.png' | Multiple tools | Single agent | Advanced | Analysis | Understand |  | agent call
29 | YES | NO | 47.61 |  | Error |  | 29 | Indrajeet | Capture an image by setting a $\frac{time}{line}$ that ensures the scanning is completed within 30 seconds. | Multiple tools | Single agent | Advanced | Documentation, Calculation |  |  | code generation
30 | NO | NO | 60.55 | 9.26 |  |  | 30 | Indrajeet | Capture an image by setting a $\frac{points}{line}$ and $\frac{time}{line}$ that ensures the scanning is completed within 30 seconds. | Multiple tools | Single agent | Advanced | Documentation, Calculation | code generation |  | code generation
31 | YES | NO | 23.97 | 5.74 |  |  | 31 | Indrajeet | Set image rotation to \pu{20 degrees} in the AFM software, and then capture an image. | Multiple tools | Single agent | Advanced | Documentation |  |  | code generation
32 | YES | YES | 6.86 | 7.64 |  |  | 32 | Indrajeet | Set the file name to 'Glass_NAP_2024' in the AFM software. | Multiple tools | Single agent | Basic | Documentation
33 | YES | YES | 8.72 | 32.91 |  |  | 33 | Indrajeet | Open the file 'Sample.nid,' extract the Z-axis forward image data, and plot it. Save the resulting plot as 'question_33.png.' | Single tool | Single agent | Basic | Analysis
34 | NO | YES | 19.79 | 7.31 |  |  | 34 | Indrajeet | Open the file 'Sample.nid,' extract the Z-axis backward image data, and plot it. Save the resulting plot as 'question_34.png.' | Single tool | Single agent | Basic | Analysis | code generation
35 | YES | YES | 35.72 | 39.77 |  |  | 35 | Indrajeet | Optimize the values of the P, I, and D gains using a genetic algorithm. Do not correct the baseline. | Single tool | Single agent | Basic | None
36 | YES | YES | 33.79 | 36.52 |  |  | 36 | Indrajeet | Optimize the values of the P, I, and D gains using a genetic algorithm. Correct the baseline. | Single tool | Single agent | Basic | None
37 | YES | NO | 6.65 | 7.9 |  |  | 37 | Indrajeet | Change the cantilever tip to Tap190Al-G in the AFM software. | Multiple tools | Single agent | Basic | Documentation |  |  | code generation
38 | YES | YES | 9.01 | 5.24 |  |  | 38 | Indrajeet | Change the cantilever tip to ContAL-G in the AFM software. | Multiple tools | Single agent | Basic | Documentation
39 | YES | YES | 10.53 | 6.17 |  |  | 39 | Indrajeet | Withdraw the AFM tip from the sample surface. | Multiple tools | Single agent | Basic | Documentation
40 | YES | NO | 6.36 |  | Error |  | 40 | Indrajeet | Open the file 'Sample.nid,' extract the forward friction force image data, and plot it. Save the resulting plot as 'question_40.png.' | Single tool | Single agent | Basic | Analysis |  |  | agent call |  | everythime it callas different agent
41 | No | YES | error | 15.15 |  |  | 41 | Indrajeet | Capture an image by scanning from the up direction. | Multiple tools | Single agent | Advanced | Documentation |  | code generation
42 | YES | NO | 17.83 |  | Error |  | 42 | Indrajeet | Capture an image by scanning from the down direction. | Multiple tools | Single agent | Basic | Documentation |  |  | code generation
43 | YES | YES | 6.23 | 5.69 |  |  | 43 | Indrajeet | Set P gain to 150, I gain to 5000, and D gain to 5 in the AFM software. | Multiple tools | Single agent | Basic | Documentation
44 | YES | YES | 11.11 | 6.1 |  |  | 44 | Indrajeet | Set image height to \pu{50 nm} and P gain to 175 in the AFM software. | Multiple tools | Single agent | Basic | Documentation
45 | YES | YES | 20.16 | 8.14 |  |  | 45 | Indrajeet | Set the image size to $150 \times 100 \pu{nm}$, P gain to 75, I gain to 4500, D gain to 0, and $\frac{time}{line}$ to \pu{1 s} in the AFM software. | Multiple tools | Single agent | Basic | Documentation
46 | YES | YES | 10.14 | 7.82 |  |  | 46 | Indrajeet | Change the AFM operation mode to dynamic mode in the AFM software. | Multiple tools | Single agent | Basic | Documentation
47 | YES | YES | 27.84 | 6.86 |  |  | 47 | Jitendra | Open the file named 'Glass_NAP.nid' from the current directory, extract the friction-forward image data, plot it, and save the resulting plot as 'Glass_NAP_ff_47_GPT-4o.png'. | Single tool | Single agent | Basic | Analysis
48 | YES | YES | 8.87 | 4.83 |  |  | 48 | Jitendra | Open the file named 'Glass_NAP.nid' from the current directory, extract the z-axis forward image data, plot it, and save the resulting plot as 'Glass_NAP_zf_48_GPT-4o.png'. | Single tool | Single agent | Basic | Analysis
49 | YES | YES | 7.77 | 13.43 |  |  | 49 | Jitendra | Open the file named 'Glass_NAP.nid' from the current directory, extract the z-axis backward image data, plot it, and save the resulting plot as 'Glass_NAP_zb_49_GPT-4o.png'. | Single tool | Single agent | Basic | Analysis
50 | YES | YES | 4.4 | 5.2 |  |  | 50 | Jitendra | Open the file named 'Glass_NAP.nid' from the current directory, extract the deflection forward image data, plot it, and save the resulting plot as 'Glass_NAP_df_50_GPT-4o.png'. | Single tool | Single agent | Basic | Analysis
51 | YES | YES | 2.17 | 3.12 |  |  | 51 | Jitendra | Open the file named 'Glass_NAP.nid' from the current folder, then plot the friction forward image and save it as 'Glass_NAP_51_GPT-4o'. Calculate the corresponding average friction. | Single tool | Single agent | Advanced | Calculation, Analysis
52 | YES | YES | 6.78 | 2.32 |  |  | 52 | Jitendra | Open the file named 'Glass_NAP.nid' from the current folder and calculate the corresponding average friction. | Single tool | Single agent | Advanced | Calculation, Analysis
53 | YES | NO | 6.77 | 20.14 |  |  | 53 | Jitendra | Open the file named "Glass_NAP.nid" from the current folder, and then plot the z-axis forward image from that file, save it as 'question_53.png', and calculate the corresponding average friction. | Single tool | Single agent | Advanced | Calculation, Analysis |  |  | agent call
54 | YES | NO | 5.62 | 3.55 |  |  | 54 | Jitendra | Open the file named 'Glass_NAP.nid' from the current folder, and then plot the z-axis backward image from that file, save it as 'question_54.png', and calculate the corresponding average friction. | Single tool | Single agent | Advanced | Calculation, Analysis |  |  | agent call
55 | YES | NO | 5.81 | 17.34 |  |  | 55 | Jitendra | Open the file named 'Glass_NAP.nid' from the current folder, and then plot the z-axis forward image from that file, save it as 'question_55.png', and calculate the corresponding root mean squared roughness. | Single tool | Single agent | Advanced | Calculation, Analysis |  |  | agent call
56 | NO | NO | 87.17 |  | Error |  | 56 | Jitendra | Capture an AFM image of size $\pu {100 nm} \times \pu {100 nm}$ and calculate the surface friction. | Multiple tools | Multiple agents | Advanced | Documentation, Calculation, Analysis | code generation |  | tool call
57 | NO | NO | 77.27 |  | Error |  | 57 | Jitendra | Capture an AFM image of size $\pu {100 nm} \times \pu {100 nm}$ and calculate the average surface roughness. | Multiple tools | Multiple agents | Advanced | Documentation, Calculation, Analysis | agent call |  | code generation
58 | NO | NO | 31.82 |  | Error |  | 58 | Jitendra | Capture an AFM image of size $\pu {100 nm} \times \pu {100 nm}$ and calculate the root mean squared surface roughness. | Multiple tools | Multiple agents | Advanced | Documentation, Calculation, Analysis | agent call |  | code generation
59 | YES | NO | 54.3 |  | Error |  | 59 | Indrajeet | Capture an AFM image of size $\pu {100 nm} \times \pu {100 nm}$ with the filename '59_GPT-4o'. Open the latest file from the current folder and calculate the average and root mean squared value of surface roughness. | Multiple tools | Multiple agents | Advanced | Documentation, Calculation, Analysis |  |  | code generation
60 | YES | NO | 54.47 |  | Error |  | 60 | Indrajeet | Capture an AFM image of size $\\pu {100 nm} \times \\pu {100 nm}$ with the filename '60_GPT-4o'. Open the latest file from the current folder and calculate the average friction and surface roughness | Multiple tools | Multiple agents | Advanced | Documentation, Calculation, Analysis |  |  | code generation
61 | YES | NO | 82.76 |  | Error |  | 61 | Jitendra | Capture two AFM images of size $\pu{100nm} \times \pu{100nm}$ in different locations. | Multiple tools | Single agent | Advanced | Documentation, Analysis |  |  | code generation
62 | NO | NO | 42.88 |  | Error |  | 62 | Jitendra | Capture two AFM images of size $\pu{100nm} \times \pu{100nm} $ and $\pu{500nm} \times \pu{500nm}$ in the same location and calculate their average friction and root mean squared surface roughness. | Multiple tools | Multiple agents | Advanced | Documentation, Calculation, Analysis | code generation | want to save the file | code generation
63 | NO | NO | 36.87 |  | Error |  | 63 | Jitendra | Open the file 'Sample.nid', and calculate the number of square grids present. | Single tool | Single agent | Advanced | Calculation | code generation |  | code generation
64 | YES | NO | 2.79 | 13.11 |  |  | 64 | Jitendra | Open the file 'Sample.nid', and calculate the surface roughness. | Single tool | Single agent | Basic | Calculation |  |  | agent call
65 | YES | NO | 2.48 |  | Error |  | 65 | Jitendra | Open the file 'Sample.nid', and calculate the friction. | Single tool | Single agent | Basic | Calculation |  |  | agent call
66 | NO | NO | 3.61 |  | Error |  | 66 | Jitendra | Open the file 'Sample.nid', and calculate the area of the image. | Single tool | Single agent | Basic | Calculation | Understand |  | agent call
67 | NO | NO | 11.5 |  | Error |  | 67 | Jitendra | Open the file 'Sample.nid' and calculate the number of distinct objects present. | Single tool | Single agent | Advanced | Calculation | code generation |  | agent call
68 | YES | YES | 21.52 | 3.92 |  |  | 68 | Jitendra | Open the file 'Sample.nid,' extract the forward friction force image data, and calculate the area of the image. | Single tool | Single agent | Advanced | Calculation
69 | YES | NO | 40.72 |  | Error |  | 69 | Jitendra | Open the file 'Sample.nid,' extract the z-axis forward image data, and calculate the area of the image in pixels. | Single tool | Single agent | Advanced | Calculation |  |  | agent call
70 | YES | YES | 2.87 | 3.09 |  |  | 70 | Jitendra | Open the file 'Glass_NAP.nid' from the current folder and calculate the corresponding average friction. | Single tool | Single agent | Basic | Calculation
71 | YES | YES | 3.3 | 2.81 |  |  | 71 | Jitendra | Open the file 'Glass_NAP.nid' from the current folder and calculate the corresponding surface roughness. | Multiple tools | Multiple agents | Basic | Calculation
72 | YES | YES | 3.77 | 3.22 |  |  | 72 | Jitendra | Open the file 'Glass_NAP.nid' from the current folder and calculate the corresponding surface roughness and average friction. | Multiple tools | Multiple agents | Advanced | Calculation
73 | YES | NO | 100.79 |  | Error |  | 73 | Jitendra | Acquire an AFM image with dimensions $\pu{1 µm} \times \pu{1 µm}$ at a scan angle of $ 5 degrees $, using the following parameters: P gain = 100, I gain = 5000, D gain = 0, and setpoint = 0.1 V. Save the image with the filename 'Test'. Then, open the latest file in the folder, plot the Z-axis forward image, and save the plot as 'Test.png'. | Multiple tools | Multiple agents | Advanced | Documentation, Analysis |  |  | code generation
74 | NO | NO | 81.06 |  | Error |  | 74 | Jitendra | Acquire an AFM image with dimensions $\pu{500 nm} \times \pu{500 nm}$ at a scan angle of $ 5 degrees $, using the following parameters: P gain = 100, I gain = 5000, D gain = 0, and setpoint = 0.1 V. Save the image with the filename 'Test'. Then, open the latest file in the folder, plot the Z-axis backward image, and save the plot as 'Test_GPT-35.png'. | Multiple tools | Multiple agents | Advanced | Documentation, Analysis | code generation |  | code generation
75 | YES | NO | 28.11 |  | Error |  | 75 | Jitendra | Acquire an AFM image with dimensions $\pu{500 nm} \times \pu{500 nm}$ at a scan angle of $ 5 degrees $, using the following parameters: P gain = 100, I gain = 5000, D gain = 0, and setpoint = 0.1 V. Save the image with the filename 'Test.' Then, open the latest file in the current folder; from that file, extract the Z-axis backward image data, plot it, and save the plot as '75_Test_GPT-4o.png'. | Multiple tools | Multiple agents | Advanced | Documentation, Analysis |  |  | code generation
76 | NO | NO | 61.64 |  | Error |  | 76 | Jitendra | Capture an AFM image with dimensions $\pu{500 nm} \times \pu{500 nm}$ at a scan angle of $ 5 degrees $, using the following parameters: P gain = 100, I gain = 5000, D gain = 0, and setpoint = 0.1 V. Then, open the latest file in the current folder; from that file, extract the Z-axis backward image data and calculate the area of the image. | Multiple tools | Multiple agents | Advanced | Documentation, Calculation | code generation |  | code generation
77 | YES | NO | 54.68 |  | Error |  | 77 | Jitendra | Capture an AFM image with dimensions $\pu{500 nm} \times \pu{500 nm}$ using the following parameters: P gain = 100, I gain = 5000, D gain = 0. Then open the latest file in the current folder and from that file, extract the Z-axis forward image data and calculate the area of the image. | Multiple tools | Multiple agents | Advanced | Documentation, Calculation |  |  | code generation
78 | YES | NO | 156.89 |  | Error |  | 78 | Jitendra | Capture an AFM image with dimensions $\pu{500 nm} \times \pu{500 nm}$ using the following parameters: P gain = 100, I gain = 5000, D gain = 0. Then, open the latest file in the current folder, extract the Z-axis forward image data from that file, and calculate the maximum height of any point in the image. | Multiple tools | Multiple agents | Advanced | Documentation, Calculation |  |  | agent call
79 | YES | NO | 55.96 |  | Error |  | 79 | Jitendra | Capture an AFM image of size $\\pu{10000 nm} \times \\pu{10000 nm}$ with the file name '91_GPT-4o'. Open the latest file from the current folder and plot \\pu{1000 nm} length line profile across a distinct step-edge feature and save it as '91_GPT-4o.png'. | Multiple tools | Multiple agents | Advanced | Documentation, Analysis |  |  | code generation
80 | NO | NO | 34.34 | 8.85 |  |  | 80 | Jitendra | Optimize the values of the P, I, and D gains using a genetic algorithm and correct the baseline. Then, adjust the image size to $\\pu{100 nm} \times \\pu{100 nm}$ and update the P, I, and D gains to the optimized values in the AFM software. | Multiple tools | Multiple agents | Advanced | Documentation, None | agent call |  | agent call
81 | NO | NO | 36.8 | 37.2 |  |  | 81 | Jitendra | Optimize the values of the P, I, and D gains using a genetic algorithm, correct the baseline, and then set the final parameters in the AFM software. | Multiple tools | Multiple agents | Advanced | Documentation, None | agent call |  | agent call
82 | YES | NO | 6.73 |  | Error |  | 82 | Jitendra | Open the file 'Sample.nid', extract the data corresponding to the Z-axis backward image, plot a line profile across the image, and save as 'question_102.png' | Single tool | Single agent | Advanced | Analysis |  |  | code generation
83 | YES | NO | 8.93 |  | Error |  | 83 | Jitendra | Open the file 'Sample.nid', extract the data corresponding to the Z-axis forward image, plot a line profile across the image, and save as 'question_103.png' | Single tool | Single agent | Advanced | Analysis |  |  | code generation
84 | YES | YES | 6.8 | 6.7 |  |  | 84 | Jitendra | Open the file 'Sample.nid', extract the data corresponding to the backward friction force image, plot a line profile across the image, and save as 'question_104.png' | Single tool | Single agent | Advanced | Analysis
85 | YES | YES | 5.74 | 9.2 |  |  | 85 | Jitendra | Open the file 'Sample.nid', extract the data corresponding to the forward friction force image, plot a line profile across the image, and save as 'question_105.png' | Single tool | Single agent | Advanced | Analysis
86 | YES | YES | 38.95 | 6.38 |  |  | 86 | Jitendra | Open the file 'Sample.nid', extract the data corresponding to the Z-axis forward image, and calculate the maximum height of any object. | Single tool | Single agent | Advanced | Calculation, Analysis
87 | NO | YES | 3.76 | 41.85 |  |  | 87 | Indrajeet | Open the file 'Sample.nid,' extract the Z-axis forward image data, and plot two line profiles: one vertical and one horizontal across the image. Save the plot as 'question_107.png.' | Single tool | Single agent | Advanced | Analysis | agent call
88 | NO | YES | 48.01 | 6.53 |  |  | 88 | Jitendra | Open the file 'Sample.nid,' extract the Z-axis backward image data, and plot two line profiles: one vertical and one horizontal across the image. Save the plot as 'question_107.png.' | Single tool | Single agent | Advanced | Analysis | code generation
89 | YES | YES | 6.32 | 7.68 |  |  | 89 | Indrajeet | Change the cantilever tip to Multi75E-G in the AFM software. | Multiple tools | Single agent | Basic | Documentation
90 | YES | NO | 7.07 | 7.27 |  |  | 90 | Indrajeet | Change the cantilever tip to Multi75M-G in the AFM software. | Multiple tools | Single agent | Basic | Documentation |  |  | code generation
91 | YES | YES | 6.15 | 11.05 |  |  | 91 | Indrajeet | Change the cantilever tip to NCLR in the AFM software. | Multiple tools | Single agent | Basic | Documentation
92 | YES | YES | 6.41 | 14.63 |  |  | 92 | Indrajeet | Change the cantilever tip to ACL-A in the AFM software. | Multiple tools | Single agent | Basic | Documentation
93 | YES | YES | 7.72 | 9.77 |  |  | 93 | Indrajeet | Change the cantilever tip to ANSCM in the AFM software. | Multiple tools | Single agent | Basic | Documentation
94 | YES | YES | 6.82 | 9.35 |  |  | 94 | Indrajeet | Change the cantilever tip to MFMR in the AFM software. | Multiple tools | Single agent | Basic | Documentation
95 | YES | YES | 7.55 | 7.2 |  |  | 95 | Indrajeet | Set image width to \\pu{150 nm} and P gain to 500 in the AFM software. | Multiple tools | Single agent | Basic | Documentation
96 | YES | YES | 17.37 | 9.75 |  |  | 96 | Indrajeet | Set image width to \pu{150 nm} and D gain to 15 in the AFM software. | Multiple tools | Single agent | Basic | Documentation
97 | YES | YES | 8.8 | 11.91 |  |  | 97 | Indrajeet | Set image width to \pu{150 nm} and I gain to 150 in the AFM software. | Multiple tools | Single agent | Basic | Documentation
98 | YES | YES | 13.91 | 5.58 |  |  | 98 | Indrajeet | Set image width to \pu{250 nm}, I gain to 250, and D gain to 50 in the AFM software. | Multiple tools | Single agent | Basic | Documentation
99 | YES | YES | 16.44 | 10.15 |  |  | 99 | Indrajeet | Set image width to \pu{250 nm}, D gain to 250, and P gain to 5000 in the AFM software. | Multiple tools | Single agent | Basic | Documentation
100 | YES | YES | 13.09 | 11.03 |  |  | 100 | Indrajeet | Withdraw the AFM tip from the sample surface. | Multiple tools | Single agent | Basic | Documentation
100
34.755
8.9
|  |  | 6.23 |  |  |  |  | 3.12 | 0.1182
|  |  | 5.63 |  | 5.7906 |  |  | 2.32
|  |  | 10.09 |  |  |  |  | 6.38
7.13
5.65
7.88
10.33
6.04
5.31
16.06
6.34
5.55
8
10.58
12.58
17.53
7.64
5.24
6.17
15.15
5.69
6.1
8.14
7.82
7.68
11.05
14.63
9.77
9.35
7.2
9.75
11.91
5.58
10.15
11.03
[7 empty] | 108.77 | 54.385
|  |  | 259.18 | 4.3197
|  |  | 2.79 | 2.79
|  |  | 6.36 | 2.48
|  |  | 27.84 | 21.52
|  |  | 8.87 | 40.72
|  |  | 7.77 | 2.87 |  |  | 82.76
|  |  | 4.4 | 3.3 |  |  | 100.79
|  |  | 6.73 | 3.77 |  |  | 28.11
| 60 |  | 8.93 |  |  |  | 55.96
|  |  | 6.8 | 1.2908
|  |  | 5.74 |  |  |  | 66.905
8.623
11.43
10.28
6.66
|  |  | 6.61 |  |  | 12.2289
8.26
5.75
8
7.64
7.23
7.17
50.05
50.1
5.34
8.77
7.45
10.8
8.17
8.22
8.87
6.39
26.18
17.73
24.11
11.18
23.97
6.86
6.65
9.01
10.53
17.83
6.23
11.11
20.16
10.14
6.32
7.07
6.15
6.41
7.72
6.82
7.55
17.37
8.8
13.91
16.44
13.09
46